## Oven Drying
Location from Cold Plate | Initial VWC | Final VWC | Difference
cm | m3/m3 | m3/m3 | m3/m3
10 | 0.16798 | 0.1366 | -0.031373
7.5 | 0.17369 | 0.15801 | -0.015686
5 | 0.17206 | 0.16569 | -0.0063726
2.5 | 0.16977 | 0.17141 | 0.001634
0 | 0.175 | 0.17876 | 0.0037582
Initial Time | 0 | min
Final Time | 2500 | min
Note on A1: Pokhrel, Aashish: The location/distance of the soil sample is taken from the bottom (cold-20oC) plate shown in Figure 1 of the manuscript.
Note on B1: Pokhrel, Aashish: This represents the moisture content measured during soil compaction.
Note on C1: Pokhrel, Aashish: Moisture content taken immediately after stopping the test when it reached steady state.
Note on D1: Pokhrel, Aashish: This represents the moisture gain during heating test. Negative sign indicates the moisture losss.
Note on A9: Pokhrel, Aashish: The time at which the heating started is taken as initial time = 0 minute
Note on A10: Pokhrel, Aashish: This is the time at which the test was stopped after it reached steady state.

## EC-5 Data + Correction
Time | RAW EC-5 Readings @ |  |  | Temperature Readings @ |  |  | Temp. Corrected EC-5 Readings @ |  |  | Initial VWC Corrected
| 2.5 cm | 5.0 cm | 7.5 cm | 2.5 cm | 5.0 cm | 7.5 cm | 2.5 cm | 5.0 cm | 7.5 cm | 2.5 cm | 5.0 cm | 7.5 cm
min | m3/m3 | m3/m3 | m3/m3 | oC | oC | oC | m3/m3 | m3/m3 | m3/m3 | m3/m3 | m3/m3 | m3/m3
0 | 0.21099 | 0.20741 | 0.2211 | 21.43 | 21.178 | 21.243 | 0.21099 | 0.20774 | 0.22134 | 0.15496 | 0.1708 | 0.15678
5 | 0.21124 | 0.20758 | 0.2211 | 21.606 | 21.392 | 22.898 | 0.21101 | 0.20763 | 0.21919 | 0.15498 | 0.17071 | 0.15503
10 | 0.21158 | 0.20792 | 0.22118 | 21.428 | 22.007 | 26.062 | 0.21158 | 0.20717 | 0.21516 | 0.15541 | 0.17034 | 0.15174
15 | 0.21166 | 0.20801 | 0.22118 | 21.331 | 23.026 | 29.829 | 0.21179 | 0.20594 | 0.21027 | 0.15557 | 0.16933 | 0.14774
20 | 0.21183 | 0.20826 | 0.2211 | 21.644 | 24.309 | 32.516 | 0.21156 | 0.20452 | 0.20669 | 0.15539 | 0.16819 | 0.14482
25 | 0.21192 | 0.20826 | 0.2211 | 22.191 | 25.614 | 34.439 | 0.21093 | 0.20283 | 0.20419 | 0.15492 | 0.16681 | 0.14278
30 | 0.212 | 0.20844 | 0.2211 | 22.79 | 26.802 | 35.891 | 0.21024 | 0.20145 | 0.2023 | 0.1544 | 0.1657 | 0.14124
35 | 0.21218 | 0.20844 | 0.2211 | 23.371 | 27.849 | 37.041 | 0.20965 | 0.20009 | 0.20081 | 0.15396 | 0.16459 | 0.14002
40 | 0.21252 | 0.2086 | 0.22101 | 23.898 | 28.763 | 37.985 | 0.20931 | 0.19907 | 0.19949 | 0.1537 | 0.16377 | 0.13895
45 | 0.2126 | 0.2086 | 0.22093 | 24.352 | 29.543 | 38.763 | 0.2088 | 0.19806 | 0.1984 | 0.15332 | 0.16295 | 0.13805
50 | 0.2126 | 0.20886 | 0.22085 | 24.758 | 30.222 | 39.433 | 0.20827 | 0.19743 | 0.19744 | 0.15293 | 0.16244 | 0.13727
55 | 0.2126 | 0.20886 | 0.22076 | 25.112 | 30.797 | 40.005 | 0.20781 | 0.19668 | 0.19661 | 0.15258 | 0.16183 | 0.13659
60 | 0.21269 | 0.20894 | 0.22051 | 25.412 | 31.295 | 40.486 | 0.20751 | 0.19612 | 0.19573 | 0.15235 | 0.16138 | 0.13588
65 | 0.21285 | 0.20903 | 0.22051 | 25.671 | 31.725 | 40.902 | 0.20734 | 0.19565 | 0.19519 | 0.15223 | 0.16099 | 0.13543
70 | 0.21302 | 0.2092 | 0.22033 | 25.894 | 32.096 | 41.26 | 0.20722 | 0.19533 | 0.19456 | 0.15214 | 0.16074 | 0.13492
75 | 0.21319 | 0.20911 | 0.22033 | 26.082 | 32.413 | 41.569 | 0.20715 | 0.19484 | 0.19415 | 0.15208 | 0.16033 | 0.13459
80 | 0.21328 | 0.2092 | 0.22033 | 26.25 | 32.693 | 41.838 | 0.20701 | 0.19456 | 0.1938 | 0.15198 | 0.16011 | 0.1343
85 | 0.21336 | 0.2092 | 0.22025 | 26.39 | 32.931 | 42.072 | 0.20692 | 0.19425 | 0.19342 | 0.15191 | 0.15986 | 0.13398
90 | 0.21345 | 0.2092 | 0.22008 | 26.512 | 33.138 | 42.275 | 0.20684 | 0.19398 | 0.19298 | 0.15185 | 0.15964 | 0.13363
95 | 0.21345 | 0.2092 | 0.22 | 26.611 | 33.311 | 42.452 | 0.20671 | 0.19375 | 0.19267 | 0.15176 | 0.15946 | 0.13337
100 | 0.21362 | 0.2092 | 0.21991 | 26.71 | 33.476 | 42.616 | 0.20676 | 0.19354 | 0.19237 | 0.15179 | 0.15928 | 0.13313
105 | 0.21354 | 0.2092 | 0.21965 | 26.79 | 33.614 | 42.751 | 0.20657 | 0.19336 | 0.19194 | 0.15165 | 0.15914 | 0.13278
110 | 0.21362 | 0.2092 | 0.21965 | 26.857 | 33.732 | 42.87 | 0.20656 | 0.19321 | 0.19178 | 0.15164 | 0.15901 | 0.13265
115 | 0.21379 | 0.2092 | 0.21957 | 26.913 | 33.831 | 42.967 | 0.20666 | 0.19308 | 0.19157 | 0.15172 | 0.15891 | 0.13248
120 | 0.21379 | 0.2092 | 0.21949 | 26.961 | 33.917 | 43.053 | 0.2066 | 0.19297 | 0.19138 | 0.15167 | 0.15882 | 0.13232
125 | 0.21387 | 0.2092 | 0.2194 | 27.014 | 34.004 | 43.14 | 0.20662 | 0.19285 | 0.19118 | 0.15168 | 0.15873 | 0.13216
130 | 0.21405 | 0.20928 | 0.2194 | 27.04 | 34.059 | 43.195 | 0.20675 | 0.19287 | 0.19111 | 0.15178 | 0.15874 | 0.1321
135 | 0.21405 | 0.20928 | 0.21931 | 27.079 | 34.122 | 43.256 | 0.2067 | 0.19279 | 0.19094 | 0.15175 | 0.15867 | 0.13197
140 | 0.21413 | 0.2092 | 0.21931 | 27.102 | 34.164 | 43.298 | 0.20676 | 0.19265 | 0.19089 | 0.15179 | 0.15856 | 0.13192
145 | 0.21421 | 0.2092 | 0.21923 | 27.123 | 34.204 | 43.336 | 0.20681 | 0.19259 | 0.19075 | 0.15183 | 0.15852 | 0.13181
150 | 0.2143 | 0.2092 | 0.21915 | 27.145 | 34.242 | 43.372 | 0.20687 | 0.19254 | 0.19062 | 0.15187 | 0.15848 | 0.1317
155 | 0.2143 | 0.2092 | 0.21906 | 27.163 | 34.274 | 43.405 | 0.20685 | 0.1925 | 0.19049 | 0.15186 | 0.15844 | 0.1316
160 | 0.2143 | 0.2092 | 0.21889 | 27.185 | 34.309 | 43.44 | 0.20682 | 0.19246 | 0.19028 | 0.15183 | 0.15841 | 0.13142
165 | 0.21438 | 0.2092 | 0.2188 | 27.193 | 34.328 | 43.459 | 0.20689 | 0.19243 | 0.19017 | 0.15189 | 0.15839 | 0.13133
170 | 0.21447 | 0.2092 | 0.21872 | 27.212 | 34.355 | 43.485 | 0.20695 | 0.1924 | 0.19005 | 0.15194 | 0.15836 | 0.13124
175 | 0.21447 | 0.2092 | 0.21863 | 27.222 | 34.372 | 43.502 | 0.20694 | 0.19238 | 0.18994 | 0.15193 | 0.15834 | 0.13115
180 | 0.21498 | 0.20928 | 0.21863 | 27.224 | 34.383 | 43.512 | 0.20745 | 0.19245 | 0.18993 | 0.15231 | 0.1584 | 0.13114
185 | 0.21498 | 0.20928 | 0.21863 | 27.233 | 34.397 | 43.524 | 0.20744 | 0.19243 | 0.18991 | 0.1523 | 0.15838 | 0.13113
190 | 0.21498 | 0.20928 | 0.21863 | 27.235 | 34.402 | 43.532 | 0.20743 | 0.19242 | 0.1899 | 0.1523 | 0.15838 | 0.13112
195 | 0.21498 | 0.20928 | 0.21855 | 27.239 | 34.411 | 43.539 | 0.20743 | 0.19241 | 0.18981 | 0.15229 | 0.15837 | 0.13104
200 | 0.21507 | 0.20928 | 0.21846 | 27.247 | 34.423 | 43.549 | 0.2075 | 0.19239 | 0.18971 | 0.15235 | 0.15835 | 0.13096
205 | 0.21515 | 0.20928 | 0.21846 | 27.253 | 34.431 | 43.557 | 0.20758 | 0.19238 | 0.1897 | 0.15241 | 0.15835 | 0.13095
210 | 0.21515 | 0.2092 | 0.21838 | 27.247 | 34.427 | 43.554 | 0.20759 | 0.1923 | 0.18962 | 0.15241 | 0.15828 | 0.13089
215 | 0.21524 | 0.2092 | 0.21829 | 27.247 | 34.427 | 43.554 | 0.20767 | 0.1923 | 0.18953 | 0.15248 | 0.15828 | 0.13082
220 | 0.21524 | 0.20928 | 0.21821 | 27.245 | 34.428 | 43.554 | 0.20768 | 0.19239 | 0.18945 | 0.15248 | 0.15835 | 0.13075
225 | 0.21532 | 0.2092 | 0.21821 | 27.248 | 34.431 | 43.558 | 0.20776 | 0.1923 | 0.18944 | 0.15254 | 0.15828 | 0.13074
230 | 0.21524 | 0.2092 | 0.21804 | 27.246 | 34.429 | 43.555 | 0.20767 | 0.1923 | 0.18928 | 0.15248 | 0.15828 | 0.13061
235 | 0.21541 | 0.2092 | 0.21795 | 27.253 | 34.436 | 43.561 | 0.20784 | 0.19229 | 0.18918 | 0.1526 | 0.15827 | 0.13053
240 | 0.21541 | 0.2092 | 0.21795 | 27.255 | 34.438 | 43.563 | 0.20783 | 0.19229 | 0.18918 | 0.1526 | 0.15827 | 0.13053
245 | 0.21549 | 0.20911 | 0.21779 | 27.253 | 34.434 | 43.558 | 0.20792 | 0.19221 | 0.18902 | 0.15266 | 0.15821 | 0.1304
250 | 0.21557 | 0.20911 | 0.21779 | 27.254 | 34.437 | 43.561 | 0.208 | 0.19221 | 0.18901 | 0.15272 | 0.1582 | 0.13039
255 | 0.21557 | 0.20911 | 0.21779 | 27.244 | 34.425 | 43.551 | 0.20802 | 0.19222 | 0.18903 | 0.15273 | 0.15821 | 0.1304
260 | 0.21566 | 0.20903 | 0.21779 | 27.242 | 34.424 | 43.547 | 0.2081 | 0.19214 | 0.18903 | 0.1528 | 0.15815 | 0.13041
265 | 0.21574 | 0.20911 | 0.2177 | 27.242 | 34.423 | 43.548 | 0.20819 | 0.19222 | 0.18895 | 0.15286 | 0.15822 | 0.13034
270 | 0.21583 | 0.20894 | 0.2177 | 27.242 | 34.421 | 43.546 | 0.20827 | 0.19206 | 0.18895 | 0.15293 | 0.15808 | 0.13034
275 | 0.21583 | 0.20903 | 0.21762 | 27.243 | 34.423 | 43.545 | 0.20827 | 0.19214 | 0.18887 | 0.15293 | 0.15815 | 0.13027
280 | 0.21583 | 0.20903 | 0.21762 | 27.241 | 34.419 | 43.542 | 0.20828 | 0.19214 | 0.18887 | 0.15293 | 0.15815 | 0.13027
285 | 0.21591 | 0.20894 | 0.21762 | 27.227 | 34.404 | 43.527 | 0.20838 | 0.19208 | 0.18889 | 0.15301 | 0.1581 | 0.13029
290 | 0.21591 | 0.20903 | 0.21753 | 27.235 | 34.411 | 43.534 | 0.20837 | 0.19215 | 0.18879 | 0.153 | 0.15816 | 0.13021
295 | 0.21591 | 0.20894 | 0.21753 | 27.23 | 34.405 | 43.527 | 0.20838 | 0.19208 | 0.1888 | 0.153 | 0.1581 | 0.13022
300 | 0.216 | 0.20894 | 0.21736 | 27.224 | 34.398 | 43.521 | 0.20847 | 0.19209 | 0.18864 | 0.15307 | 0.15811 | 0.13009
305 | 0.216 | 0.20877 | 0.21727 | 27.224 | 34.398 | 43.52 | 0.20847 | 0.19192 | 0.18856 | 0.15307 | 0.15797 | 0.13002
310 | 0.216 | 0.20886 | 0.21727 | 27.219 | 34.392 | 43.516 | 0.20847 | 0.19201 | 0.18856 | 0.15308 | 0.15804 | 0.13002
315 | 0.216 | 0.20877 | 0.2171 | 27.226 | 34.397 | 43.519 | 0.20847 | 0.19192 | 0.18839 | 0.15307 | 0.15797 | 0.12988
320 | 0.21608 | 0.20877 | 0.21719 | 27.219 | 34.389 | 43.513 | 0.20856 | 0.19193 | 0.18848 | 0.15314 | 0.15798 | 0.12996
325 | 0.21608 | 0.20869 | 0.2171 | 27.217 | 34.388 | 43.51 | 0.20856 | 0.19184 | 0.1884 | 0.15314 | 0.15791 | 0.12989
330 | 0.21617 | 0.20886 | 0.21702 | 27.221 | 34.391 | 43.514 | 0.20864 | 0.19201 | 0.18831 | 0.1532 | 0.15804 | 0.12982
335 | 0.21617 | 0.20869 | 0.21702 | 27.212 | 34.379 | 43.5 | 0.20865 | 0.19186 | 0.18833 | 0.15321 | 0.15792 | 0.12983
340 | 0.21626 | 0.2086 | 0.21693 | 27.206 | 34.371 | 43.494 | 0.20875 | 0.19178 | 0.18825 | 0.15328 | 0.15786 | 0.12977
345 | 0.21626 | 0.20852 | 0.21693 | 27.199 | 34.366 | 43.486 | 0.20876 | 0.1917 | 0.18826 | 0.15329 | 0.15779 | 0.12978
350 | 0.21617 | 0.2086 | 0.21693 | 27.204 | 34.369 | 43.491 | 0.20866 | 0.19178 | 0.18826 | 0.15322 | 0.15786 | 0.12977
355 | 0.21643 | 0.2086 | 0.21685 | 27.204 | 34.369 | 43.49 | 0.20892 | 0.19178 | 0.18817 | 0.15341 | 0.15786 | 0.1297
360 | 0.21634 | 0.20844 | 0.21685 | 27.203 | 34.366 | 43.487 | 0.20884 | 0.19162 | 0.18818 | 0.15335 | 0.15773 | 0.12971
365 | 0.21634 | 0.20852 | 0.21685 | 27.198 | 34.36 | 43.481 | 0.20884 | 0.19171 | 0.18818 | 0.15335 | 0.1578 | 0.12971
370 | 0.21634 | 0.20852 | 0.21685 | 27.195 | 34.356 | 43.478 | 0.20885 | 0.19172 | 0.18819 | 0.15336 | 0.15781 | 0.12972
375 | 0.21643 | 0.20844 | 0.21685 | 27.196 | 34.357 | 43.477 | 0.20893 | 0.19163 | 0.18819 | 0.15342 | 0.15774 | 0.12972
380 | 0.21651 | 0.20835 | 0.21677 | 27.202 | 34.362 | 43.483 | 0.20901 | 0.19154 | 0.1881 | 0.15348 | 0.15766 | 0.12964
385 | 0.21651 | 0.20844 | 0.21668 | 27.19 | 34.349 | 43.47 | 0.20902 | 0.19164 | 0.18803 | 0.15349 | 0.15774 | 0.12959
390 | 0.21668 | 0.20835 | 0.21677 | 27.197 | 34.355 | 43.475 | 0.20918 | 0.19155 | 0.18811 | 0.15361 | 0.15767 | 0.12965
395 | 0.2166 | 0.20835 | 0.21668 | 27.192 | 34.349 | 43.469 | 0.2091 | 0.19156 | 0.18803 | 0.15355 | 0.15767 | 0.12959
400 | 0.21668 | 0.20835 | 0.21668 | 27.189 | 34.345 | 43.465 | 0.20919 | 0.19156 | 0.18803 | 0.15362 | 0.15768 | 0.12959
405 | 0.21668 | 0.20835 | 0.2166 | 27.191 | 34.345 | 43.466 | 0.20919 | 0.19156 | 0.18795 | 0.15361 | 0.15768 | 0.12952
410 | 0.21677 | 0.20835 | 0.2166 | 27.187 | 34.343 | 43.463 | 0.20928 | 0.19156 | 0.18795 | 0.15368 | 0.15768 | 0.12953
415 | 0.21677 | 0.20826 | 0.21634 | 27.186 | 34.341 | 43.461 | 0.20928 | 0.19148 | 0.1877 | 0.15368 | 0.15761 | 0.12932
420 | 0.21685 | 0.20826 | 0.21651 | 27.176 | 34.331 | 43.449 | 0.20938 | 0.19149 | 0.18789 | 0.15376 | 0.15762 | 0.12947
425 | 0.21685 | 0.20835 | 0.21626 | 27.173 | 34.325 | 43.446 | 0.20938 | 0.19159 | 0.18763 | 0.15376 | 0.1577 | 0.12927
430 | 0.21685 | 0.20826 | 0.21617 | 27.171 | 34.322 | 43.442 | 0.20939 | 0.19151 | 0.18755 | 0.15376 | 0.15763 | 0.1292
435 | 0.21685 | 0.20826 | 0.21626 | 27.166 | 34.317 | 43.436 | 0.20939 | 0.19151 | 0.18765 | 0.15377 | 0.15764 | 0.12928
440 | 0.21685 | 0.20826 | 0.21626 | 27.176 | 34.328 | 43.447 | 0.20938 | 0.1915 | 0.18763 | 0.15376 | 0.15763 | 0.12926
445 | 0.21685 | 0.20818 | 0.21626 | 27.162 | 34.311 | 43.432 | 0.2094 | 0.19143 | 0.18765 | 0.15377 | 0.15758 | 0.12928
450 | 0.21693 | 0.20818 | 0.21634 | 27.162 | 34.311 | 43.43 | 0.20948 | 0.19143 | 0.18774 | 0.15383 | 0.15758 | 0.12935
455 | 0.21702 | 0.20801 | 0.21634 | 27.16 | 34.308 | 43.426 | 0.20957 | 0.19127 | 0.18775 | 0.1539 | 0.15744 | 0.12936
460 | 0.21702 | 0.2081 | 0.21634 | 27.164 | 34.311 | 43.43 | 0.20957 | 0.19135 | 0.18774 | 0.1539 | 0.15751 | 0.12935
465 | 0.21702 | 0.20818 | 0.21608 | 27.159 | 34.306 | 43.426 | 0.20957 | 0.19144 | 0.18749 | 0.1539 | 0.15758 | 0.12915
470 | 0.21702 | 0.2081 | 0.21608 | 27.155 | 34.301 | 43.421 | 0.20958 | 0.19136 | 0.1875 | 0.1539 | 0.15752 | 0.12915
475 | 0.21702 | 0.20818 | 0.21608 | 27.156 | 34.301 | 43.42 | 0.20958 | 0.19145 | 0.1875 | 0.1539 | 0.15759 | 0.12915
480 | 0.21702 | 0.2081 | 0.216 | 27.155 | 34.299 | 43.418 | 0.20958 | 0.19137 | 0.18742 | 0.1539 | 0.15752 | 0.12909
485 | 0.2171 | 0.20792 | 0.21608 | 27.155 | 34.297 | 43.416 | 0.20966 | 0.1912 | 0.1875 | 0.15397 | 0.15739 | 0.12916
490 | 0.21702 | 0.20801 | 0.216 | 27.159 | 34.302 | 43.42 | 0.20957 | 0.19128 | 0.18741 | 0.1539 | 0.15745 | 0.12909
495 | 0.2171 | 0.20784 | 0.216 | 27.15 | 34.292 | 43.41 | 0.20967 | 0.19112 | 0.18743 | 0.15397 | 0.15732 | 0.1291
500 | 0.2171 | 0.20784 | 0.216 | 27.147 | 34.288 | 43.406 | 0.20967 | 0.19112 | 0.18743 | 0.15398 | 0.15733 | 0.1291
505 | 0.2171 | 0.20784 | 0.216 | 27.149 | 34.29 | 43.409 | 0.20967 | 0.19112 | 0.18743 | 0.15397 | 0.15732 | 0.1291
510 | 0.21719 | 0.20775 | 0.216 | 27.15 | 34.291 | 43.409 | 0.20975 | 0.19104 | 0.18743 | 0.15404 | 0.15725 | 0.1291
515 | 0.21719 | 0.20784 | 0.216 | 27.146 | 34.284 | 43.4 | 0.20976 | 0.19113 | 0.18744 | 0.15404 | 0.15733 | 0.12911
520 | 0.21727 | 0.20775 | 0.216 | 27.146 | 34.284 | 43.4 | 0.20984 | 0.19104 | 0.18744 | 0.1541 | 0.15726 | 0.12911
525 | 0.2171 | 0.20767 | 0.216 | 27.142 | 34.278 | 43.395 | 0.20968 | 0.19097 | 0.18745 | 0.15398 | 0.1572 | 0.12911
530 | 0.21719 | 0.20775 | 0.21591 | 27.144 | 34.279 | 43.395 | 0.20976 | 0.19105 | 0.18736 | 0.15404 | 0.15727 | 0.12904
535 | 0.21727 | 0.20775 | 0.21591 | 27.137 | 34.273 | 43.389 | 0.20986 | 0.19106 | 0.18737 | 0.15411 | 0.15727 | 0.12905
540 | 0.21736 | 0.20767 | 0.21591 | 27.139 | 34.273 | 43.389 | 0.20994 | 0.19097 | 0.18737 | 0.15417 | 0.1572 | 0.12905
545 | 0.21736 | 0.20767 | 0.21591 | 27.125 | 34.257 | 43.373 | 0.20996 | 0.19099 | 0.18739 | 0.15419 | 0.15722 | 0.12907
550 | 0.21727 | 0.20767 | 0.21591 | 27.127 | 34.261 | 43.377 | 0.20987 | 0.19099 | 0.18738 | 0.15412 | 0.15722 | 0.12906
555 | 0.21727 | 0.20758 | 0.21583 | 27.127 | 34.259 | 43.374 | 0.20987 | 0.19091 | 0.1873 | 0.15412 | 0.15715 | 0.129
560 | 0.21753 | 0.20758 | 0.21583 | 27.122 | 34.254 | 43.369 | 0.21013 | 0.19091 | 0.18731 | 0.15432 | 0.15715 | 0.129
565 | 0.21736 | 0.20758 | 0.21583 | 27.126 | 34.257 | 43.373 | 0.20996 | 0.19091 | 0.1873 | 0.15419 | 0.15715 | 0.129
570 | 0.21744 | 0.20767 | 0.21583 | 27.133 | 34.262 | 43.378 | 0.21003 | 0.19099 | 0.1873 | 0.15424 | 0.15722 | 0.12899
575 | 0.21753 | 0.20767 | 0.21574 | 27.129 | 34.26 | 43.374 | 0.21012 | 0.19099 | 0.18722 | 0.15431 | 0.15722 | 0.12893
580 | 0.21753 | 0.20758 | 0.21574 | 27.119 | 34.249 | 43.363 | 0.21013 | 0.19092 | 0.18723 | 0.15432 | 0.15716 | 0.12894
585 | 0.21762 | 0.20758 | 0.21574 | 27.118 | 34.248 | 43.363 | 0.21022 | 0.19092 | 0.18723 | 0.15439 | 0.15716 | 0.12894
590 | 0.21762 | 0.2075 | 0.21574 | 27.116 | 34.246 | 43.36 | 0.21022 | 0.19084 | 0.18724 | 0.15439 | 0.15709 | 0.12894
595 | 0.21753 | 0.2075 | 0.21566 | 27.116 | 34.245 | 43.359 | 0.21014 | 0.19084 | 0.18715 | 0.15432 | 0.1571 | 0.12887
600 | 0.21753 | 0.2075 | 0.21557 | 27.112 | 34.241 | 43.354 | 0.21014 | 0.19085 | 0.18707 | 0.15433 | 0.1571 | 0.12881
605 | 0.21753 | 0.2075 | 0.21557 | 27.108 | 34.234 | 43.349 | 0.21015 | 0.19085 | 0.18708 | 0.15433 | 0.15711 | 0.12881
610 | 0.21753 | 0.2075 | 0.21557 | 27.116 | 34.243 | 43.357 | 0.21014 | 0.19084 | 0.18707 | 0.15432 | 0.1571 | 0.12881
615 | 0.21762 | 0.2075 | 0.21549 | 27.112 | 34.239 | 43.351 | 0.21023 | 0.19085 | 0.18699 | 0.15439 | 0.1571 | 0.12874
620 | 0.21753 | 0.2075 | 0.21557 | 27.109 | 34.234 | 43.346 | 0.21015 | 0.19085 | 0.18708 | 0.15433 | 0.15711 | 0.12882
625 | 0.21762 | 0.2075 | 0.21557 | 27.111 | 34.236 | 43.347 | 0.21023 | 0.19085 | 0.18708 | 0.15439 | 0.1571 | 0.12882
630 | 0.21762 | 0.2075 | 0.21549 | 27.103 | 34.227 | 43.339 | 0.21024 | 0.19086 | 0.18701 | 0.1544 | 0.15711 | 0.12875
635 | 0.21762 | 0.2075 | 0.21549 | 27.106 | 34.229 | 43.341 | 0.21024 | 0.19086 | 0.18701 | 0.1544 | 0.15711 | 0.12875
640 | 0.21762 | 0.20741 | 0.21541 | 27.106 | 34.23 | 43.34 | 0.21024 | 0.19077 | 0.18692 | 0.1544 | 0.15704 | 0.12868
645 | 0.21762 | 0.20741 | 0.21541 | 27.098 | 34.221 | 43.333 | 0.21025 | 0.19079 | 0.18693 | 0.15441 | 0.15705 | 0.12869
650 | 0.21762 | 0.20733 | 0.21532 | 27.096 | 34.218 | 43.329 | 0.21025 | 0.19071 | 0.18685 | 0.15441 | 0.15699 | 0.12863
655 | 0.21762 | 0.20741 | 0.21532 | 27.103 | 34.225 | 43.335 | 0.21024 | 0.19078 | 0.18684 | 0.1544 | 0.15705 | 0.12862
660 | 0.2177 | 0.20741 | 0.21532 | 27.093 | 34.215 | 43.325 | 0.21034 | 0.19079 | 0.18686 | 0.15447 | 0.15706 | 0.12863
665 | 0.2177 | 0.20741 | 0.21541 | 27.09 | 34.211 | 43.321 | 0.21034 | 0.1908 | 0.18695 | 0.15448 | 0.15706 | 0.1287
670 | 0.2177 | 0.20741 | 0.21532 | 27.091 | 34.212 | 43.322 | 0.21034 | 0.1908 | 0.18686 | 0.15448 | 0.15706 | 0.12863
675 | 0.2177 | 0.20725 | 0.21532 | 27.097 | 34.219 | 43.329 | 0.21033 | 0.19062 | 0.18685 | 0.15447 | 0.15692 | 0.12863
680 | 0.2177 | 0.20741 | 0.21532 | 27.09 | 34.21 | 43.321 | 0.21034 | 0.1908 | 0.18686 | 0.15448 | 0.15706 | 0.12864
685 | 0.2177 | 0.20725 | 0.21532 | 27.092 | 34.209 | 43.319 | 0.21034 | 0.19063 | 0.18686 | 0.15448 | 0.15693 | 0.12864
690 | 0.2177 | 0.20725 | 0.21524 | 27.091 | 34.21 | 43.32 | 0.21034 | 0.19063 | 0.18678 | 0.15448 | 0.15693 | 0.12857
695 | 0.2177 | 0.20716 | 0.21532 | 27.087 | 34.207 | 43.316 | 0.21035 | 0.19055 | 0.18687 | 0.15448 | 0.15686 | 0.12864
700 | 0.2177 | 0.20725 | 0.21524 | 27.089 | 34.207 | 43.316 | 0.21034 | 0.19063 | 0.18678 | 0.15448 | 0.15693 | 0.12857
705 | 0.2177 | 0.20716 | 0.21524 | 27.089 | 34.206 | 43.315 | 0.21034 | 0.19055 | 0.18678 | 0.15448 | 0.15686 | 0.12857
710 | 0.2177 | 0.20708 | 0.21524 | 27.097 | 34.213 | 43.321 | 0.21033 | 0.19046 | 0.18678 | 0.15447 | 0.15678 | 0.12857
715 | 0.2177 | 0.20725 | 0.21524 | 27.092 | 34.207 | 43.315 | 0.21034 | 0.19063 | 0.18678 | 0.15448 | 0.15693 | 0.12857
720 | 0.2177 | 0.20716 | 0.21524 | 27.088 | 34.205 | 43.311 | 0.21034 | 0.19055 | 0.18679 | 0.15448 | 0.15686 | 0.12858
725 | 0.2177 | 0.20716 | 0.21524 | 27.09 | 34.206 | 43.313 | 0.21034 | 0.19055 | 0.18679 | 0.15448 | 0.15686 | 0.12857
730 | 0.2177 | 0.20708 | 0.21524 | 27.089 | 34.203 | 43.31 | 0.21034 | 0.19047 | 0.18679 | 0.15448 | 0.1568 | 0.12858
735 | 0.21779 | 0.20708 | 0.21515 | 27.089 | 34.203 | 43.309 | 0.21043 | 0.19047 | 0.18671 | 0.15454 | 0.1568 | 0.12851
740 | 0.21779 | 0.20708 | 0.21515 | 27.089 | 34.203 | 43.31 | 0.21043 | 0.19047 | 0.18671 | 0.15454 | 0.1568 | 0.12851
745 | 0.21779 | 0.20699 | 0.21515 | 27.082 | 34.196 | 43.303 | 0.21044 | 0.19039 | 0.18672 | 0.15455 | 0.15673 | 0.12852
750 | 0.21779 | 0.20699 | 0.21515 | 27.081 | 34.194 | 43.3 | 0.21044 | 0.1904 | 0.18672 | 0.15455 | 0.15674 | 0.12852
755 | 0.21779 | 0.20699 | 0.21515 | 27.075 | 34.188 | 43.295 | 0.21045 | 0.1904 | 0.18673 | 0.15456 | 0.15674 | 0.12852
760 | 0.2177 | 0.20699 | 0.21515 | 27.074 | 34.187 | 43.294 | 0.21036 | 0.19041 | 0.18673 | 0.15449 | 0.15674 | 0.12853
765 | 0.21779 | 0.20708 | 0.21515 | 27.078 | 34.19 | 43.296 | 0.21044 | 0.19049 | 0.18672 | 0.15455 | 0.15681 | 0.12852
770 | 0.21779 | 0.20699 | 0.21515 | 27.074 | 34.186 | 43.291 | 0.21045 | 0.19041 | 0.18673 | 0.15456 | 0.15674 | 0.12853
775 | 0.21779 | 0.20699 | 0.21515 | 27.077 | 34.187 | 43.292 | 0.21044 | 0.19041 | 0.18673 | 0.15455 | 0.15674 | 0.12853
780 | 0.21779 | 0.20699 | 0.21515 | 27.073 | 34.184 | 43.29 | 0.21045 | 0.19041 | 0.18673 | 0.15456 | 0.15675 | 0.12853
785 | 0.21779 | 0.20682 | 0.21507 | 27.066 | 34.176 | 43.282 | 0.21046 | 0.19025 | 0.18666 | 0.15456 | 0.15662 | 0.12847
790 | 0.21779 | 0.2069 | 0.21515 | 27.066 | 34.176 | 43.281 | 0.21046 | 0.19034 | 0.18674 | 0.15456 | 0.15669 | 0.12854
795 | 0.21779 | 0.2069 | 0.21507 | 27.071 | 34.181 | 43.286 | 0.21045 | 0.19033 | 0.18665 | 0.15456 | 0.15668 | 0.12846
800 | 0.21779 | 0.20682 | 0.21507 | 27.071 | 34.181 | 43.285 | 0.21045 | 0.19024 | 0.18665 | 0.15456 | 0.15661 | 0.12847
805 | 0.21779 | 0.20682 | 0.21507 | 27.074 | 34.18 | 43.284 | 0.21045 | 0.19024 | 0.18665 | 0.15456 | 0.15661 | 0.12847
810 | 0.21787 | 0.2069 | 0.21507 | 27.068 | 34.176 | 43.28 | 0.21054 | 0.19034 | 0.18666 | 0.15463 | 0.15669 | 0.12847
815 | 0.21779 | 0.20682 | 0.21507 | 27.075 | 34.182 | 43.284 | 0.21045 | 0.19024 | 0.18665 | 0.15456 | 0.15661 | 0.12847
820 | 0.21779 | 0.20674 | 0.21507 | 27.071 | 34.178 | 43.282 | 0.21045 | 0.19016 | 0.18666 | 0.15456 | 0.15655 | 0.12847
825 | 0.21779 | 0.20674 | 0.21507 | 27.078 | 34.185 | 43.287 | 0.21044 | 0.19015 | 0.18665 | 0.15455 | 0.15654 | 0.12846
830 | 0.21779 | 0.20674 | 0.21507 | 27.071 | 34.177 | 43.278 | 0.21045 | 0.19016 | 0.18666 | 0.15456 | 0.15655 | 0.12847
835 | 0.21779 | 0.20682 | 0.21507 | 27.069 | 34.175 | 43.276 | 0.21045 | 0.19025 | 0.18667 | 0.15456 | 0.15662 | 0.12847
840 | 0.21779 | 0.20682 | 0.21507 | 27.068 | 34.174 | 43.276 | 0.21046 | 0.19025 | 0.18667 | 0.15456 | 0.15662 | 0.12847
845 | 0.21779 | 0.20674 | 0.21507 | 27.065 | 34.17 | 43.273 | 0.21046 | 0.19017 | 0.18667 | 0.15457 | 0.15655 | 0.12848
850 | 0.21787 | 0.20674 | 0.21498 | 27.065 | 34.17 | 43.27 | 0.21054 | 0.19017 | 0.18659 | 0.15463 | 0.15655 | 0.12841
855 | 0.21779 | 0.20674 | 0.21498 | 27.069 | 34.173 | 43.273 | 0.21045 | 0.19017 | 0.18658 | 0.15456 | 0.15655 | 0.12841
860 | 0.21787 | 0.20674 | 0.21498 | 27.069 | 34.172 | 43.273 | 0.21054 | 0.19017 | 0.18658 | 0.15463 | 0.15655 | 0.12841
865 | 0.21779 | 0.20674 | 0.21498 | 27.071 | 34.175 | 43.275 | 0.21045 | 0.19017 | 0.18658 | 0.15456 | 0.15655 | 0.12841
870 | 0.21787 | 0.20674 | 0.21498 | 27.067 | 34.172 | 43.271 | 0.21054 | 0.19017 | 0.18659 | 0.15463 | 0.15655 | 0.12841
875 | 0.21779 | 0.20665 | 0.21498 | 27.074 | 34.176 | 43.276 | 0.21045 | 0.19008 | 0.18658 | 0.15456 | 0.15648 | 0.12841
880 | 0.21779 | 0.20674 | 0.21498 | 27.063 | 34.167 | 43.267 | 0.21046 | 0.19018 | 0.18659 | 0.15457 | 0.15656 | 0.12841
885 | 0.21779 | 0.20674 | 0.2149 | 27.066 | 34.169 | 43.268 | 0.21046 | 0.19017 | 0.18651 | 0.15456 | 0.15656 | 0.12834
890 | 0.21787 | 0.20665 | 0.21498 | 27.067 | 34.169 | 43.268 | 0.21054 | 0.19009 | 0.18659 | 0.15463 | 0.15649 | 0.12841
895 | 0.21787 | 0.20674 | 0.2149 | 27.067 | 34.168 | 43.267 | 0.21054 | 0.19018 | 0.18651 | 0.15463 | 0.15656 | 0.12835
900 | 0.21787 | 0.20674 | 0.2149 | 27.062 | 34.163 | 43.262 | 0.21055 | 0.19018 | 0.18651 | 0.15463 | 0.15656 | 0.12835
905 | 0.21787 | 0.20665 | 0.2149 | 27.06 | 34.16 | 43.26 | 0.21055 | 0.1901 | 0.18652 | 0.15463 | 0.1565 | 0.12835
910 | 0.21779 | 0.20665 | 0.2149 | 27.062 | 34.161 | 43.259 | 0.21046 | 0.1901 | 0.18652 | 0.15457 | 0.15649 | 0.12835
915 | 0.21787 | 0.20665 | 0.2149 | 27.062 | 34.161 | 43.259 | 0.21055 | 0.1901 | 0.18652 | 0.15463 | 0.15649 | 0.12835
920 | 0.21787 | 0.20665 | 0.21481 | 27.053 | 34.153 | 43.252 | 0.21056 | 0.19011 | 0.18644 | 0.15464 | 0.1565 | 0.12829
925 | 0.21787 | 0.20665 | 0.2149 | 27.059 | 34.158 | 43.255 | 0.21055 | 0.1901 | 0.18652 | 0.15464 | 0.1565 | 0.12836
930 | 0.21787 | 0.20665 | 0.2149 | 27.053 | 34.151 | 43.249 | 0.21056 | 0.19011 | 0.18653 | 0.15464 | 0.15651 | 0.12836
935 | 0.21787 | 0.20656 | 0.2149 | 27.059 | 34.157 | 43.256 | 0.21055 | 0.19002 | 0.18652 | 0.15464 | 0.15643 | 0.12836
940 | 0.21795 | 0.20665 | 0.21481 | 27.058 | 34.158 | 43.255 | 0.21064 | 0.1901 | 0.18644 | 0.1547 | 0.1565 | 0.12829
945 | 0.21787 | 0.20665 | 0.21481 | 27.059 | 34.158 | 43.256 | 0.21055 | 0.1901 | 0.18644 | 0.15464 | 0.1565 | 0.12829
950 | 0.21779 | 0.20656 | 0.2149 | 27.054 | 34.151 | 43.249 | 0.21047 | 0.19003 | 0.18653 | 0.15458 | 0.15644 | 0.12836
955 | 0.21787 | 0.20656 | 0.21472 | 27.06 | 34.157 | 43.253 | 0.21055 | 0.19002 | 0.18636 | 0.15463 | 0.15643 | 0.12822
960 | 0.21787 | 0.20656 | 0.21481 | 27.055 | 34.152 | 43.249 | 0.21056 | 0.19003 | 0.18645 | 0.15464 | 0.15644 | 0.1283
965 | 0.21787 | 0.20656 | 0.21481 | 27.062 | 34.159 | 43.255 | 0.21055 | 0.19002 | 0.18644 | 0.15463 | 0.15643 | 0.12829
970 | 0.21787 | 0.20656 | 0.21472 | 27.054 | 34.149 | 43.244 | 0.21056 | 0.19003 | 0.18637 | 0.15464 | 0.15644 | 0.12823
975 | 0.21787 | 0.20665 | 0.21472 | 27.055 | 34.15 | 43.246 | 0.21056 | 0.19011 | 0.18636 | 0.15464 | 0.15651 | 0.12823
980 | 0.21787 | 0.20648 | 0.21472 | 27.055 | 34.15 | 43.245 | 0.21056 | 0.18994 | 0.18637 | 0.15464 | 0.15637 | 0.12823
985 | 0.21787 | 0.20656 | 0.21481 | 27.058 | 34.154 | 43.247 | 0.21055 | 0.19002 | 0.18645 | 0.15464 | 0.15643 | 0.1283
990 | 0.21795 | 0.20648 | 0.21481 | 27.055 | 34.149 | 43.243 | 0.21064 | 0.18995 | 0.18645 | 0.1547 | 0.15637 | 0.1283
995 | 0.21787 | 0.20656 | 0.21472 | 27.05 | 34.145 | 43.238 | 0.21056 | 0.19004 | 0.18637 | 0.15464 | 0.15644 | 0.12824
1000 | 0.21779 | 0.20648 | 0.21464 | 27.055 | 34.15 | 43.244 | 0.21047 | 0.18994 | 0.18628 | 0.15458 | 0.15637 | 0.12816
1005 | 0.21787 | 0.20656 | 0.21455 | 27.048 | 34.142 | 43.236 | 0.21057 | 0.19004 | 0.18621 | 0.15465 | 0.15645 | 0.1281
1010 | 0.21795 | 0.20656 | 0.21464 | 27.058 | 34.152 | 43.245 | 0.21064 | 0.19003 | 0.18628 | 0.1547 | 0.15644 | 0.12816
1015 | 0.21795 | 0.20648 | 0.21472 | 27.05 | 34.144 | 43.237 | 0.21065 | 0.18995 | 0.18638 | 0.15471 | 0.15637 | 0.12824
1020 | 0.21787 | 0.20639 | 0.21472 | 27.054 | 34.147 | 43.241 | 0.21056 | 0.18986 | 0.18637 | 0.15464 | 0.1563 | 0.12823
1025 | 0.21787 | 0.20648 | 0.21464 | 27.058 | 34.15 | 43.241 | 0.21055 | 0.18994 | 0.18629 | 0.15464 | 0.15637 | 0.12817
1030 | 0.21795 | 0.20648 | 0.21472 | 27.046 | 34.138 | 43.231 | 0.21065 | 0.18996 | 0.18638 | 0.15471 | 0.15638 | 0.12825
1035 | 0.21795 | 0.20648 | 0.21472 | 27.047 | 34.138 | 43.231 | 0.21065 | 0.18996 | 0.18638 | 0.15471 | 0.15638 | 0.12825
1040 | 0.21787 | 0.20648 | 0.21464 | 27.044 | 34.134 | 43.227 | 0.21057 | 0.18996 | 0.1863 | 0.15465 | 0.15639 | 0.12818
1045 | 0.21795 | 0.20648 | 0.21464 | 27.044 | 34.135 | 43.226 | 0.21066 | 0.18996 | 0.18631 | 0.15471 | 0.15638 | 0.12818
1050 | 0.21795 | 0.20639 | 0.21464 | 27.046 | 34.136 | 43.229 | 0.21065 | 0.18988 | 0.1863 | 0.15471 | 0.15631 | 0.12818
1055 | 0.21804 | 0.20639 | 0.21464 | 27.049 | 34.141 | 43.231 | 0.21074 | 0.18987 | 0.1863 | 0.15477 | 0.15631 | 0.12818
1060 | 0.21795 | 0.20648 | 0.21464 | 27.048 | 34.139 | 43.23 | 0.21065 | 0.18996 | 0.1863 | 0.15471 | 0.15638 | 0.12818
1065 | 0.21804 | 0.20648 | 0.21464 | 27.044 | 34.133 | 43.225 | 0.21074 | 0.18997 | 0.18631 | 0.15478 | 0.15639 | 0.12818
1070 | 0.21795 | 0.20648 | 0.21464 | 27.043 | 34.133 | 43.223 | 0.21066 | 0.18997 | 0.18631 | 0.15471 | 0.15639 | 0.12818
1075 | 0.21787 | 0.20648 | 0.21464 | 27.038 | 34.126 | 43.216 | 0.21058 | 0.18998 | 0.18632 | 0.15466 | 0.15639 | 0.12819
1080 | 0.21795 | 0.20639 | 0.21464 | 27.032 | 34.115 | 43.202 | 0.21067 | 0.1899 | 0.18634 | 0.15473 | 0.15634 | 0.12821
1085 | 0.21795 | 0.20648 | 0.21455 | 27.056 | 34.15 | 43.237 | 0.21064 | 0.18994 | 0.18621 | 0.1547 | 0.15637 | 0.1281
1090 | 0.21804 | 0.20648 | 0.21464 | 27.077 | 34.178 | 43.262 | 0.2107 | 0.18991 | 0.18626 | 0.15475 | 0.15634 | 0.12814
1095 | 0.21795 | 0.20639 | 0.21455 | 27.095 | 34.196 | 43.279 | 0.21059 | 0.1898 | 0.18615 | 0.15466 | 0.15625 | 0.12806
1100 | 0.21795 | 0.20639 | 0.21455 | 27.108 | 34.21 | 43.293 | 0.21057 | 0.18978 | 0.18613 | 0.15465 | 0.15624 | 0.12804
1105 | 0.21795 | 0.20639 | 0.21464 | 27.093 | 34.193 | 43.275 | 0.21059 | 0.1898 | 0.18624 | 0.15467 | 0.15625 | 0.12813
1110 | 0.21795 | 0.20639 | 0.21455 | 27.095 | 34.197 | 43.279 | 0.21059 | 0.1898 | 0.18615 | 0.15466 | 0.15625 | 0.12806
1115 | 0.21795 | 0.20631 | 0.21455 | 27.096 | 34.196 | 43.278 | 0.21059 | 0.18971 | 0.18615 | 0.15466 | 0.15618 | 0.12806
1120 | 0.21795 | 0.20639 | 0.21455 | 27.102 | 34.204 | 43.287 | 0.21058 | 0.18979 | 0.18614 | 0.15466 | 0.15624 | 0.12805
1125 | 0.21795 | 0.20622 | 0.21447 | 27.099 | 34.201 | 43.284 | 0.21059 | 0.18962 | 0.18606 | 0.15466 | 0.15611 | 0.12798
1130 | 0.21804 | 0.20631 | 0.21447 | 27.093 | 34.192 | 43.275 | 0.21068 | 0.18972 | 0.18607 | 0.15473 | 0.15619 | 0.12799
1135 | 0.21787 | 0.20622 | 0.21447 | 27.082 | 34.181 | 43.264 | 0.21052 | 0.18965 | 0.18609 | 0.15461 | 0.15613 | 0.128
1140 | 0.21787 | 0.20614 | 0.21447 | 27.069 | 34.165 | 43.25 | 0.21054 | 0.18958 | 0.1861 | 0.15463 | 0.15608 | 0.12802
1145 | 0.21787 | 0.20631 | 0.21447 | 27.061 | 34.159 | 43.243 | 0.21055 | 0.18976 | 0.18611 | 0.15463 | 0.15622 | 0.12802
1150 | 0.21787 | 0.20622 | 0.21447 | 27.058 | 34.155 | 43.24 | 0.21055 | 0.18968 | 0.18612 | 0.15464 | 0.15616 | 0.12803
1155 | 0.21787 | 0.20622 | 0.21455 | 27.06 | 34.157 | 43.242 | 0.21055 | 0.18968 | 0.1862 | 0.15463 | 0.15615 | 0.12809
1160 | 0.21787 | 0.20614 | 0.21472 | 27.057 | 34.153 | 43.239 | 0.21055 | 0.1896 | 0.18637 | 0.15464 | 0.15609 | 0.12824
1165 | 0.21795 | 0.20631 | 0.21472 | 27.06 | 34.155 | 43.239 | 0.21064 | 0.18977 | 0.18637 | 0.1547 | 0.15623 | 0.12824
1170 | 0.21795 | 0.20614 | 0.21472 | 27.056 | 34.151 | 43.236 | 0.21064 | 0.1896 | 0.18638 | 0.1547 | 0.15609 | 0.12824
1175 | 0.21795 | 0.20614 | 0.21472 | 27.05 | 34.144 | 43.229 | 0.21065 | 0.18961 | 0.18639 | 0.15471 | 0.1561 | 0.12825
1180 | 0.21787 | 0.20605 | 0.21472 | 27.046 | 34.141 | 43.224 | 0.21057 | 0.18953 | 0.18639 | 0.15465 | 0.15603 | 0.12825
1185 | 0.21795 | 0.20622 | 0.21472 | 27.048 | 34.142 | 43.225 | 0.21065 | 0.1897 | 0.18639 | 0.15471 | 0.15617 | 0.12825
1190 | 0.21795 | 0.20605 | 0.21472 | 27.044 | 34.138 | 43.221 | 0.21066 | 0.18953 | 0.1864 | 0.15471 | 0.15604 | 0.12826
1195 | 0.21795 | 0.20614 | 0.21472 | 27.043 | 34.137 | 43.22 | 0.21066 | 0.18962 | 0.1864 | 0.15471 | 0.15611 | 0.12826
1200 | 0.21795 | 0.20614 | 0.21472 | 27.037 | 34.131 | 43.215 | 0.21067 | 0.18963 | 0.1864 | 0.15472 | 0.15611 | 0.12826
1205 | 0.21787 | 0.20614 | 0.21464 | 27.046 | 34.139 | 43.221 | 0.21057 | 0.18962 | 0.18631 | 0.15465 | 0.1561 | 0.12819
1210 | 0.21787 | 0.20605 | 0.21472 | 27.044 | 34.136 | 43.219 | 0.21057 | 0.18954 | 0.1864 | 0.15465 | 0.15604 | 0.12826
1215 | 0.21787 | 0.20622 | 0.21464 | 27.043 | 34.136 | 43.217 | 0.21057 | 0.18971 | 0.18632 | 0.15465 | 0.15618 | 0.12819
1220 | 0.21795 | 0.20622 | 0.21464 | 27.047 | 34.139 | 43.22 | 0.21065 | 0.1897 | 0.18631 | 0.15471 | 0.15617 | 0.12819
1225 | 0.21787 | 0.20605 | 0.21464 | 27.049 | 34.141 | 43.222 | 0.21057 | 0.18953 | 0.18631 | 0.15465 | 0.15603 | 0.12819
1230 | 0.21795 | 0.20605 | 0.21464 | 27.04 | 34.133 | 43.213 | 0.21066 | 0.18954 | 0.18632 | 0.15472 | 0.15604 | 0.12819
1235 | 0.21795 | 0.20605 | 0.21464 | 27.05 | 34.141 | 43.222 | 0.21065 | 0.18953 | 0.18631 | 0.15471 | 0.15603 | 0.12819
1240 | 0.21787 | 0.20605 | 0.21472 | 27.054 | 34.145 | 43.224 | 0.21056 | 0.18953 | 0.18639 | 0.15464 | 0.15603 | 0.12825
1245 | 0.21787 | 0.20597 | 0.21472 | 27.04 | 34.128 | 43.208 | 0.21058 | 0.18946 | 0.18641 | 0.15465 | 0.15598 | 0.12827
1250 | 0.21787 | 0.20597 | 0.21464 | 27.032 | 34.122 | 43.202 | 0.21059 | 0.18947 | 0.18634 | 0.15466 | 0.15598 | 0.12821
1255 | 0.21787 | 0.20605 | 0.21464 | 27.037 | 34.127 | 43.208 | 0.21058 | 0.18955 | 0.18633 | 0.15466 | 0.15605 | 0.1282
1260 | 0.21795 | 0.20605 | 0.21464 | 27.037 | 34.126 | 43.205 | 0.21067 | 0.18955 | 0.18633 | 0.15472 | 0.15605 | 0.1282
1265 | 0.21795 | 0.20597 | 0.21464 | 27.041 | 34.129 | 43.208 | 0.21066 | 0.18946 | 0.18633 | 0.15472 | 0.15598 | 0.1282
1270 | 0.21804 | 0.20605 | 0.21464 | 27.042 | 34.131 | 43.209 | 0.21074 | 0.18954 | 0.18633 | 0.15478 | 0.15604 | 0.1282
1275 | 0.21795 | 0.20614 | 0.21455 | 27.037 | 34.125 | 43.203 | 0.21067 | 0.18964 | 0.18625 | 0.15472 | 0.15612 | 0.12814
1280 | 0.21804 | 0.20605 | 0.21455 | 27.037 | 34.124 | 43.203 | 0.21075 | 0.18955 | 0.18625 | 0.15478 | 0.15605 | 0.12814
1285 | 0.21804 | 0.20614 | 0.21455 | 27.039 | 34.125 | 43.203 | 0.21075 | 0.18964 | 0.18625 | 0.15478 | 0.15612 | 0.12814
1290 | 0.21795 | 0.20605 | 0.21464 | 27.038 | 34.124 | 43.203 | 0.21066 | 0.18955 | 0.18634 | 0.15472 | 0.15605 | 0.12821
1295 | 0.21795 | 0.2058 | 0.21455 | 27.041 | 34.128 | 43.206 | 0.21066 | 0.18929 | 0.18625 | 0.15472 | 0.15584 | 0.12813
1300 | 0.21804 | 0.20589 | 0.21447 | 27.032 | 34.119 | 43.195 | 0.21076 | 0.18939 | 0.18618 | 0.15479 | 0.15592 | 0.12808
1305 | 0.21804 | 0.20597 | 0.21447 | 27.038 | 34.123 | 43.201 | 0.21075 | 0.18947 | 0.18617 | 0.15478 | 0.15598 | 0.12807
1310 | 0.21795 | 0.20597 | 0.21438 | 27.044 | 34.13 | 43.206 | 0.21066 | 0.18946 | 0.18608 | 0.15471 | 0.15598 | 0.12799
1315 | 0.21804 | 0.20589 | 0.21447 | 27.042 | 34.128 | 43.205 | 0.21074 | 0.18938 | 0.18616 | 0.15478 | 0.15591 | 0.12806
1320 | 0.21804 | 0.20589 | 0.21447 | 27.035 | 34.12 | 43.197 | 0.21075 | 0.18939 | 0.18617 | 0.15479 | 0.15592 | 0.12807
1325 | 0.21787 | 0.20589 | 0.21438 | 27.039 | 34.124 | 43.199 | 0.21058 | 0.18938 | 0.18609 | 0.15465 | 0.15591 | 0.128
1330 | 0.21795 | 0.20589 | 0.21438 | 27.034 | 34.121 | 43.198 | 0.21067 | 0.18939 | 0.18609 | 0.15472 | 0.15592 | 0.128
1335 | 0.21795 | 0.20589 | 0.21438 | 27.032 | 34.117 | 43.194 | 0.21067 | 0.18939 | 0.18609 | 0.15473 | 0.15592 | 0.12801
1340 | 0.21813 | 0.20589 | 0.21447 | 27.038 | 34.124 | 43.2 | 0.21083 | 0.18938 | 0.18617 | 0.15485 | 0.15591 | 0.12807
1345 | 0.21795 | 0.20589 | 0.21438 | 27.036 | 34.122 | 43.198 | 0.21067 | 0.18939 | 0.18609 | 0.15472 | 0.15592 | 0.128
1350 | 0.21804 | 0.2058 | 0.21438 | 27.031 | 34.116 | 43.191 | 0.21076 | 0.18931 | 0.1861 | 0.15479 | 0.15585 | 0.12801
1355 | 0.21804 | 0.20589 | 0.21438 | 27.041 | 34.124 | 43.2 | 0.21075 | 0.18938 | 0.18608 | 0.15478 | 0.15591 | 0.128
1360 | 0.21795 | 0.20589 | 0.21438 | 27.04 | 34.123 | 43.197 | 0.21066 | 0.18938 | 0.18609 | 0.15472 | 0.15591 | 0.128
1365 | 0.21795 | 0.20589 | 0.21447 | 27.033 | 34.117 | 43.191 | 0.21067 | 0.18939 | 0.18618 | 0.15472 | 0.15592 | 0.12808
1370 | 0.21795 | 0.20589 | 0.21438 | 27.029 | 34.113 | 43.187 | 0.21068 | 0.1894 | 0.1861 | 0.15473 | 0.15593 | 0.12801
1375 | 0.21795 | 0.20589 | 0.21447 | 27.027 | 34.11 | 43.183 | 0.21068 | 0.1894 | 0.18619 | 0.15473 | 0.15593 | 0.12809
1380 | 0.21795 | 0.2058 | 0.21438 | 27.032 | 34.115 | 43.186 | 0.21067 | 0.18931 | 0.1861 | 0.15473 | 0.15585 | 0.12802
1385 | 0.21795 | 0.2058 | 0.21447 | 27.013 | 34.094 | 43.164 | 0.2107 | 0.18934 | 0.18622 | 0.15474 | 0.15588 | 0.12811
1390 | 0.21787 | 0.2058 | 0.21447 | 27.019 | 34.102 | 43.177 | 0.2106 | 0.18933 | 0.1862 | 0.15467 | 0.15587 | 0.12809
1395 | 0.21804 | 0.2058 | 0.21438 | 27.025 | 34.108 | 43.181 | 0.21077 | 0.18932 | 0.18611 | 0.1548 | 0.15586 | 0.12802
1400 | 0.21795 | 0.2058 | 0.21438 | 27.042 | 34.126 | 43.198 | 0.21066 | 0.1893 | 0.18609 | 0.15472 | 0.15584 | 0.128
1405 | 0.21804 | 0.20589 | 0.21438 | 27.031 | 34.114 | 43.187 | 0.21076 | 0.1894 | 0.1861 | 0.15479 | 0.15592 | 0.12801
1410 | 0.21804 | 0.2058 | 0.21438 | 27.029 | 34.111 | 43.184 | 0.21076 | 0.18931 | 0.1861 | 0.15479 | 0.15586 | 0.12802
1415 | 0.21795 | 0.2058 | 0.21438 | 27.031 | 34.114 | 43.187 | 0.21067 | 0.18931 | 0.1861 | 0.15473 | 0.15586 | 0.12801
1420 | 0.21795 | 0.2058 | 0.21438 | 27.029 | 34.112 | 43.182 | 0.21068 | 0.18931 | 0.18611 | 0.15473 | 0.15586 | 0.12802
1425 | 0.21795 | 0.2058 | 0.21438 | 27.026 | 34.109 | 43.18 | 0.21068 | 0.18932 | 0.18611 | 0.15473 | 0.15586 | 0.12802
1430 | 0.21795 | 0.20589 | 0.21438 | 27.031 | 34.114 | 43.185 | 0.21067 | 0.1894 | 0.1861 | 0.15473 | 0.15592 | 0.12802
1435 | 0.21787 | 0.20572 | 0.21438 | 27.033 | 34.115 | 43.186 | 0.21059 | 0.18922 | 0.1861 | 0.15466 | 0.15579 | 0.12802
1440 | 0.21795 | 0.2058 | 0.21438 | 27.036 | 34.119 | 43.189 | 0.21067 | 0.1893 | 0.1861 | 0.15472 | 0.15585 | 0.12801
1445 | 0.21804 | 0.2058 | 0.21438 | 27.03 | 34.111 | 43.182 | 0.21076 | 0.18931 | 0.18611 | 0.15479 | 0.15586 | 0.12802
1450 | 0.21787 | 0.2058 | 0.21438 | 27.026 | 34.107 | 43.178 | 0.2106 | 0.18932 | 0.18611 | 0.15467 | 0.15586 | 0.12802
1455 | 0.21787 | 0.2058 | 0.21438 | 27.029 | 34.11 | 43.18 | 0.21059 | 0.18932 | 0.18611 | 0.15466 | 0.15586 | 0.12802
1460 | 0.21804 | 0.2058 | 0.21438 | 27.029 | 34.112 | 43.181 | 0.21076 | 0.18931 | 0.18611 | 0.15479 | 0.15586 | 0.12802
1465 | 0.21787 | 0.2058 | 0.21438 | 27.032 | 34.112 | 43.181 | 0.21059 | 0.18931 | 0.18611 | 0.15466 | 0.15586 | 0.12802
1470 | 0.21795 | 0.2058 | 0.21438 | 27.022 | 34.101 | 43.171 | 0.21069 | 0.18933 | 0.18612 | 0.15474 | 0.15587 | 0.12803
1475 | 0.21787 | 0.2058 | 0.21438 | 27.023 | 34.103 | 43.172 | 0.2106 | 0.18933 | 0.18612 | 0.15467 | 0.15587 | 0.12803
1480 | 0.21787 | 0.2058 | 0.2143 | 27.021 | 34.1 | 43.169 | 0.2106 | 0.18933 | 0.18604 | 0.15467 | 0.15587 | 0.12796
1485 | 0.21787 | 0.2058 | 0.21438 | 27.023 | 34.103 | 43.171 | 0.2106 | 0.18933 | 0.18612 | 0.15467 | 0.15587 | 0.12803
1490 | 0.21787 | 0.2058 | 0.21438 | 27.026 | 34.106 | 43.173 | 0.2106 | 0.18932 | 0.18612 | 0.15467 | 0.15586 | 0.12803
1495 | 0.21787 | 0.2058 | 0.21438 | 27.026 | 34.105 | 43.173 | 0.2106 | 0.18932 | 0.18612 | 0.15467 | 0.15586 | 0.12803
1500 | 0.21779 | 0.2058 | 0.21438 | 27.027 | 34.106 | 43.175 | 0.21051 | 0.18932 | 0.18612 | 0.1546 | 0.15586 | 0.12803
1505 | 0.21779 | 0.20572 | 0.2143 | 27.026 | 34.104 | 43.172 | 0.21051 | 0.18924 | 0.18604 | 0.1546 | 0.1558 | 0.12796
1510 | 0.21779 | 0.2058 | 0.21438 | 27.024 | 34.101 | 43.169 | 0.21051 | 0.18933 | 0.18612 | 0.15461 | 0.15587 | 0.12803
1515 | 0.21787 | 0.20572 | 0.21438 | 27.025 | 34.104 | 43.171 | 0.2106 | 0.18924 | 0.18612 | 0.15467 | 0.1558 | 0.12803
1520 | 0.21787 | 0.20572 | 0.21438 | 27.024 | 34.101 | 43.167 | 0.2106 | 0.18924 | 0.18613 | 0.15467 | 0.1558 | 0.12804
1525 | 0.21787 | 0.2058 | 0.2143 | 27.02 | 34.097 | 43.165 | 0.2106 | 0.18933 | 0.18604 | 0.15467 | 0.15587 | 0.12797
1530 | 0.21787 | 0.20572 | 0.21438 | 27.018 | 34.096 | 43.162 | 0.21061 | 0.18925 | 0.18613 | 0.15468 | 0.15581 | 0.12804
1535 | 0.21787 | 0.2058 | 0.2143 | 27.016 | 34.091 | 43.158 | 0.21061 | 0.18934 | 0.18605 | 0.15468 | 0.15588 | 0.12798
1540 | 0.21787 | 0.20572 | 0.21438 | 27.013 | 34.086 | 43.154 | 0.21061 | 0.18926 | 0.18614 | 0.15468 | 0.15582 | 0.12805
1545 | 0.21787 | 0.2058 | 0.21438 | 27.008 | 34.082 | 43.148 | 0.21062 | 0.18935 | 0.18615 | 0.15469 | 0.15589 | 0.12806
1550 | 0.21779 | 0.20572 | 0.21438 | 27.013 | 34.087 | 43.153 | 0.21053 | 0.18926 | 0.18615 | 0.15462 | 0.15581 | 0.12805
1555 | 0.21779 | 0.2058 | 0.21438 | 27.021 | 34.094 | 43.16 | 0.21052 | 0.18934 | 0.18614 | 0.15461 | 0.15588 | 0.12804
1560 | 0.21787 | 0.2058 | 0.21438 | 27.016 | 34.09 | 43.157 | 0.21061 | 0.18934 | 0.18614 | 0.15468 | 0.15588 | 0.12805
1565 | 0.21787 | 0.2058 | 0.21438 | 27.02 | 34.096 | 43.161 | 0.2106 | 0.18933 | 0.18613 | 0.15467 | 0.15587 | 0.12804
1570 | 0.21779 | 0.20572 | 0.21438 | 27.019 | 34.094 | 43.16 | 0.21052 | 0.18925 | 0.18614 | 0.15461 | 0.15581 | 0.12804
1575 | 0.21779 | 0.20572 | 0.2143 | 27.016 | 34.091 | 43.155 | 0.21052 | 0.18926 | 0.18606 | 0.15461 | 0.15581 | 0.12798
1580 | 0.21787 | 0.20572 | 0.2143 | 27.019 | 34.094 | 43.157 | 0.2106 | 0.18925 | 0.18605 | 0.15467 | 0.15581 | 0.12798
1585 | 0.21779 | 0.20563 | 0.2143 | 27.018 | 34.093 | 43.156 | 0.21052 | 0.18917 | 0.18606 | 0.15461 | 0.15574 | 0.12798
1590 | 0.21779 | 0.20572 | 0.2143 | 27.01 | 34.085 | 43.149 | 0.21053 | 0.18926 | 0.18607 | 0.15462 | 0.15582 | 0.12799
1595 | 0.21787 | 0.20572 | 0.2143 | 27.016 | 34.091 | 43.153 | 0.21061 | 0.18926 | 0.18606 | 0.15468 | 0.15581 | 0.12798
1600 | 0.21779 | 0.20572 | 0.2143 | 27.014 | 34.088 | 43.151 | 0.21053 | 0.18926 | 0.18606 | 0.15462 | 0.15581 | 0.12798
1605 | 0.21787 | 0.20572 | 0.2143 | 27.008 | 34.081 | 43.143 | 0.21062 | 0.18927 | 0.18607 | 0.15469 | 0.15582 | 0.12799
1610 | 0.21779 | 0.20572 | 0.2143 | 27.012 | 34.086 | 43.148 | 0.21053 | 0.18926 | 0.18607 | 0.15462 | 0.15582 | 0.12799
1615 | 0.21779 | 0.20572 | 0.21438 | 27.013 | 34.085 | 43.148 | 0.21053 | 0.18926 | 0.18615 | 0.15462 | 0.15582 | 0.12806
1620 | 0.21787 | 0.20563 | 0.2143 | 27.006 | 34.08 | 43.141 | 0.21062 | 0.18919 | 0.18608 | 0.15469 | 0.15575 | 0.12799
1625 | 0.21779 | 0.20572 | 0.2143 | 27.01 | 34.082 | 43.143 | 0.21053 | 0.18927 | 0.18607 | 0.15462 | 0.15582 | 0.12799
1630 | 0.21787 | 0.20572 | 0.2143 | 27.017 | 34.089 | 43.15 | 0.21061 | 0.18926 | 0.18606 | 0.15468 | 0.15581 | 0.12798
1635 | 0.21779 | 0.20572 | 0.2143 | 27.013 | 34.086 | 43.147 | 0.21053 | 0.18926 | 0.18607 | 0.15462 | 0.15582 | 0.12799
1640 | 0.21779 | 0.20572 | 0.2143 | 27.011 | 34.083 | 43.143 | 0.21053 | 0.18927 | 0.18607 | 0.15462 | 0.15582 | 0.12799
1645 | 0.21779 | 0.20563 | 0.2143 | 27.018 | 34.093 | 43.152 | 0.21052 | 0.18917 | 0.18606 | 0.15461 | 0.15574 | 0.12798
1650 | 0.21779 | 0.20572 | 0.2143 | 27.029 | 34.105 | 43.163 | 0.21051 | 0.18924 | 0.18605 | 0.1546 | 0.1558 | 0.12797
1655 | 0.21779 | 0.20563 | 0.2143 | 27.034 | 34.11 | 43.169 | 0.2105 | 0.18915 | 0.18604 | 0.1546 | 0.15572 | 0.12796
1660 | 0.21779 | 0.20563 | 0.2143 | 27.044 | 34.12 | 43.178 | 0.21049 | 0.18913 | 0.18603 | 0.15459 | 0.15571 | 0.12795
1665 | 0.2177 | 0.20563 | 0.2143 | 27.045 | 34.123 | 43.181 | 0.2104 | 0.18913 | 0.18602 | 0.15452 | 0.15571 | 0.12795
1670 | 0.21779 | 0.20572 | 0.2143 | 27.053 | 34.13 | 43.187 | 0.21048 | 0.18921 | 0.18602 | 0.15458 | 0.15577 | 0.12794
1675 | 0.21779 | 0.20572 | 0.2143 | 27.055 | 34.131 | 43.188 | 0.21047 | 0.1892 | 0.18601 | 0.15458 | 0.15577 | 0.12794
1680 | 0.2177 | 0.20572 | 0.2143 | 27.044 | 34.123 | 43.177 | 0.2104 | 0.18921 | 0.18603 | 0.15452 | 0.15578 | 0.12796
1685 | 0.2177 | 0.2058 | 0.2143 | 27.057 | 34.134 | 43.189 | 0.21038 | 0.18928 | 0.18601 | 0.15451 | 0.15583 | 0.12794
1690 | 0.21779 | 0.20572 | 0.2143 | 27.062 | 34.138 | 43.194 | 0.21046 | 0.18919 | 0.18601 | 0.15457 | 0.15576 | 0.12794
1695 | 0.21779 | 0.2058 | 0.2143 | 27.052 | 34.13 | 43.185 | 0.21048 | 0.18929 | 0.18602 | 0.15458 | 0.15584 | 0.12795
1700 | 0.2177 | 0.2058 | 0.2143 | 27.043 | 34.12 | 43.177 | 0.2104 | 0.1893 | 0.18603 | 0.15452 | 0.15585 | 0.12796
1705 | 0.21779 | 0.20572 | 0.2143 | 27.043 | 34.121 | 43.178 | 0.21049 | 0.18922 | 0.18603 | 0.15459 | 0.15578 | 0.12795
1710 | 0.21779 | 0.20572 | 0.2143 | 27.038 | 34.115 | 43.172 | 0.21049 | 0.18922 | 0.18604 | 0.15459 | 0.15579 | 0.12796
1715 | 0.21779 | 0.20572 | 0.2143 | 27.032 | 34.107 | 43.164 | 0.2105 | 0.18923 | 0.18605 | 0.1546 | 0.15579 | 0.12797
1720 | 0.2177 | 0.20572 | 0.2143 | 27.035 | 34.111 | 43.166 | 0.21041 | 0.18923 | 0.18604 | 0.15453 | 0.15579 | 0.12797
1725 | 0.2177 | 0.2058 | 0.2143 | 27.038 | 34.114 | 43.168 | 0.21041 | 0.18931 | 0.18604 | 0.15453 | 0.15586 | 0.12796
1730 | 0.2177 | 0.20572 | 0.2143 | 27.035 | 34.11 | 43.167 | 0.21041 | 0.18923 | 0.18604 | 0.15453 | 0.15579 | 0.12797
1735 | 0.2177 | 0.20572 | 0.2143 | 27.031 | 34.107 | 43.162 | 0.21042 | 0.18923 | 0.18605 | 0.15454 | 0.15579 | 0.12797
1740 | 0.2177 | 0.20572 | 0.2143 | 27.038 | 34.112 | 43.167 | 0.21041 | 0.18923 | 0.18604 | 0.15453 | 0.15579 | 0.12797
1745 | 0.2177 | 0.20572 | 0.2143 | 27.033 | 34.108 | 43.163 | 0.21042 | 0.18923 | 0.18605 | 0.15453 | 0.15579 | 0.12797
1750 | 0.2177 | 0.20572 | 0.2143 | 27.028 | 34.101 | 43.155 | 0.21042 | 0.18924 | 0.18606 | 0.15454 | 0.1558 | 0.12798
1755 | 0.2177 | 0.20572 | 0.2143 | 27.012 | 34.086 | 43.139 | 0.21044 | 0.18926 | 0.18608 | 0.15455 | 0.15582 | 0.128
1760 | 0.2177 | 0.2058 | 0.2143 | 27.019 | 34.093 | 43.149 | 0.21043 | 0.18934 | 0.18607 | 0.15455 | 0.15588 | 0.12799
1765 | 0.21779 | 0.20572 | 0.21421 | 27.023 | 34.097 | 43.152 | 0.21051 | 0.18925 | 0.18598 | 0.15461 | 0.1558 | 0.12791
1770 | 0.2177 | 0.20572 | 0.2143 | 27.026 | 34.101 | 43.154 | 0.21043 | 0.18924 | 0.18606 | 0.15454 | 0.1558 | 0.12798
1775 | 0.2177 | 0.20572 | 0.2143 | 27.034 | 34.108 | 43.161 | 0.21041 | 0.18923 | 0.18605 | 0.15453 | 0.15579 | 0.12797
1780 | 0.2177 | 0.20572 | 0.2143 | 27.022 | 34.096 | 43.15 | 0.21043 | 0.18925 | 0.18606 | 0.15454 | 0.15581 | 0.12798
1785 | 0.2177 | 0.20572 | 0.2143 | 27.034 | 34.108 | 43.161 | 0.21041 | 0.18923 | 0.18605 | 0.15453 | 0.15579 | 0.12797
1790 | 0.2177 | 0.20555 | 0.2143 | 27.025 | 34.098 | 43.15 | 0.21043 | 0.18908 | 0.18606 | 0.15454 | 0.15567 | 0.12798
1795 | 0.2177 | 0.20563 | 0.2143 | 27.021 | 34.095 | 43.147 | 0.21043 | 0.18917 | 0.18607 | 0.15454 | 0.15574 | 0.12799
1800 | 0.2177 | 0.20563 | 0.21421 | 27.031 | 34.104 | 43.156 | 0.21042 | 0.18915 | 0.18597 | 0.15454 | 0.15573 | 0.12791
1805 | 0.2177 | 0.20563 | 0.2143 | 27.027 | 34.099 | 43.151 | 0.21042 | 0.18916 | 0.18606 | 0.15454 | 0.15573 | 0.12798
1810 | 0.2177 | 0.20563 | 0.21421 | 27.015 | 34.087 | 43.138 | 0.21044 | 0.18918 | 0.18599 | 0.15455 | 0.15575 | 0.12793
1815 | 0.2177 | 0.20563 | 0.2143 | 27.02 | 34.092 | 43.144 | 0.21043 | 0.18917 | 0.18607 | 0.15455 | 0.15574 | 0.12799
1820 | 0.2177 | 0.20572 | 0.21421 | 27.023 | 34.094 | 43.145 | 0.21043 | 0.18925 | 0.18599 | 0.15454 | 0.15581 | 0.12792
1825 | 0.2177 | 0.20572 | 0.2143 | 27.023 | 34.093 | 43.145 | 0.21043 | 0.18925 | 0.18607 | 0.15454 | 0.15581 | 0.12799
1830 | 0.2177 | 0.20572 | 0.2143 | 27.029 | 34.1 | 43.149 | 0.21042 | 0.18924 | 0.18607 | 0.15454 | 0.1558 | 0.12799
1835 | 0.2177 | 0.20563 | 0.21421 | 27.023 | 34.095 | 43.145 | 0.21043 | 0.18917 | 0.18599 | 0.15454 | 0.15574 | 0.12792
1840 | 0.21762 | 0.20563 | 0.2143 | 27.03 | 34.1 | 43.151 | 0.21033 | 0.18916 | 0.18606 | 0.15447 | 0.15573 | 0.12798
1845 | 0.2177 | 0.20572 | 0.2143 | 27.026 | 34.096 | 43.145 | 0.21043 | 0.18925 | 0.18607 | 0.15454 | 0.15581 | 0.12799
1850 | 0.2177 | 0.20555 | 0.2143 | 27.022 | 34.093 | 43.142 | 0.21043 | 0.18908 | 0.18607 | 0.15454 | 0.15567 | 0.12799
1855 | 0.2177 | 0.20563 | 0.2143 | 27.021 | 34.09 | 43.141 | 0.21043 | 0.18917 | 0.18608 | 0.15454 | 0.15574 | 0.12799
1860 | 0.2177 | 0.20572 | 0.2143 | 27.017 | 34.086 | 43.134 | 0.21044 | 0.18926 | 0.18608 | 0.15455 | 0.15582 | 0.128
1865 | 0.21762 | 0.20563 | 0.2143 | 27.001 | 34.065 | 43.112 | 0.21037 | 0.1892 | 0.18611 | 0.1545 | 0.15577 | 0.12802
1870 | 0.21762 | 0.20563 | 0.21421 | 27.001 | 34.059 | 43.102 | 0.21037 | 0.18921 | 0.18604 | 0.1545 | 0.15578 | 0.12797
1875 | 0.2177 | 0.20555 | 0.21421 | 27.003 | 34.055 | 43.092 | 0.21046 | 0.18913 | 0.18605 | 0.15456 | 0.15571 | 0.12798
1880 | 0.21762 | 0.20555 | 0.21421 | 27.003 | 34.048 | 43.082 | 0.21037 | 0.18914 | 0.18607 | 0.1545 | 0.15572 | 0.12799
1885 | 0.2177 | 0.20546 | 0.21421 | 27.009 | 34.049 | 43.078 | 0.21045 | 0.18906 | 0.18607 | 0.15456 | 0.15565 | 0.12799
1890 | 0.21762 | 0.20555 | 0.21421 | 27.015 | 34.053 | 43.079 | 0.21035 | 0.18914 | 0.18607 | 0.15449 | 0.15571 | 0.12799
1895 | 0.21762 | 0.20546 | 0.2143 | 27.022 | 34.054 | 43.077 | 0.21035 | 0.18905 | 0.18616 | 0.15448 | 0.15564 | 0.12806
1900 | 0.21762 | 0.20555 | 0.21421 | 27.023 | 34.049 | 43.069 | 0.21034 | 0.18914 | 0.18608 | 0.15448 | 0.15572 | 0.128
1905 | 0.2177 | 0.20555 | 0.2143 | 27.032 | 34.055 | 43.075 | 0.21042 | 0.18913 | 0.18616 | 0.15453 | 0.15571 | 0.12806
1910 | 0.21762 | 0.20555 | 0.21421 | 27.036 | 34.058 | 43.076 | 0.21033 | 0.18913 | 0.18608 | 0.15447 | 0.15571 | 0.12799
1915 | 0.21762 | 0.20563 | 0.21421 | 27.04 | 34.06 | 43.075 | 0.21032 | 0.18921 | 0.18608 | 0.15446 | 0.15577 | 0.12799
1920 | 0.21762 | 0.20555 | 0.2143 | 27.042 | 34.058 | 43.073 | 0.21032 | 0.18913 | 0.18616 | 0.15446 | 0.15571 | 0.12807
1925 | 0.21762 | 0.20572 | 0.2143 | 27.056 | 34.071 | 43.084 | 0.2103 | 0.18928 | 0.18615 | 0.15445 | 0.15583 | 0.12805
1930 | 0.2177 | 0.20555 | 0.2143 | 27.054 | 34.068 | 43.081 | 0.21039 | 0.18912 | 0.18615 | 0.15451 | 0.1557 | 0.12806
1935 | 0.21762 | 0.20546 | 0.2143 | 27.056 | 34.07 | 43.082 | 0.2103 | 0.18903 | 0.18615 | 0.15445 | 0.15563 | 0.12806
1940 | 0.21762 | 0.20555 | 0.2143 | 27.052 | 34.064 | 43.074 | 0.21031 | 0.18912 | 0.18616 | 0.15445 | 0.1557 | 0.12806
1945 | 0.21762 | 0.20555 | 0.2143 | 27.062 | 34.076 | 43.086 | 0.21029 | 0.18911 | 0.18615 | 0.15444 | 0.15569 | 0.12805
1950 | 0.2177 | 0.20546 | 0.21421 | 27.064 | 34.076 | 43.086 | 0.21038 | 0.18902 | 0.18606 | 0.1545 | 0.15562 | 0.12798
1955 | 0.21762 | 0.20555 | 0.2143 | 27.07 | 34.083 | 43.092 | 0.21028 | 0.1891 | 0.18614 | 0.15443 | 0.15568 | 0.12805
1960 | 0.21762 | 0.20555 | 0.2143 | 27.069 | 34.079 | 43.087 | 0.21028 | 0.1891 | 0.18615 | 0.15443 | 0.15569 | 0.12805
1965 | 0.21762 | 0.20546 | 0.21421 | 27.068 | 34.078 | 43.084 | 0.21029 | 0.18902 | 0.18606 | 0.15444 | 0.15562 | 0.12798
1970 | 0.21762 | 0.20555 | 0.2143 | 27.069 | 34.08 | 43.087 | 0.21028 | 0.1891 | 0.18615 | 0.15443 | 0.15568 | 0.12805
1975 | 0.21762 | 0.20555 | 0.2143 | 27.074 | 34.083 | 43.091 | 0.21028 | 0.1891 | 0.18614 | 0.15443 | 0.15568 | 0.12805
1980 | 0.21762 | 0.20555 | 0.2143 | 27.072 | 34.08 | 43.087 | 0.21028 | 0.1891 | 0.18615 | 0.15443 | 0.15568 | 0.12805
1985 | 0.21762 | 0.20563 | 0.2143 | 27.072 | 34.08 | 43.085 | 0.21028 | 0.18919 | 0.18615 | 0.15443 | 0.15575 | 0.12805
1990 | 0.21762 | 0.20538 | 0.21421 | 27.074 | 34.079 | 43.084 | 0.21028 | 0.18893 | 0.18606 | 0.15443 | 0.15555 | 0.12798
1995 | 0.21762 | 0.20546 | 0.2143 | 27.065 | 34.072 | 43.077 | 0.21029 | 0.18903 | 0.18616 | 0.15444 | 0.15562 | 0.12806
2000 | 0.21762 | 0.20546 | 0.2143 | 27.067 | 34.076 | 43.081 | 0.21029 | 0.18902 | 0.18615 | 0.15444 | 0.15562 | 0.12806
2005 | 0.21762 | 0.20546 | 0.2143 | 27.066 | 34.075 | 43.08 | 0.21029 | 0.18902 | 0.18615 | 0.15444 | 0.15562 | 0.12806
2010 | 0.21762 | 0.20555 | 0.21421 | 27.07 | 34.077 | 43.081 | 0.21028 | 0.1891 | 0.18607 | 0.15443 | 0.15569 | 0.12799
2015 | 0.21762 | 0.20555 | 0.2143 | 27.07 | 34.074 | 43.078 | 0.21028 | 0.18911 | 0.18616 | 0.15443 | 0.15569 | 0.12806
2020 | 0.21762 | 0.20555 | 0.2143 | 27.065 | 34.073 | 43.077 | 0.21029 | 0.18911 | 0.18616 | 0.15444 | 0.15569 | 0.12806
2025 | 0.21753 | 0.20546 | 0.2143 | 27.07 | 34.075 | 43.08 | 0.2102 | 0.18902 | 0.18615 | 0.15437 | 0.15562 | 0.12806
2030 | 0.21753 | 0.20555 | 0.2143 | 27.066 | 34.074 | 43.076 | 0.2102 | 0.18911 | 0.18616 | 0.15437 | 0.15569 | 0.12806
2035 | 0.21753 | 0.20546 | 0.2143 | 27.071 | 34.078 | 43.079 | 0.2102 | 0.18902 | 0.18616 | 0.15437 | 0.15562 | 0.12806
2040 | 0.21753 | 0.20555 | 0.2143 | 27.068 | 34.074 | 43.076 | 0.2102 | 0.18911 | 0.18616 | 0.15437 | 0.15569 | 0.12806
2045 | 0.21753 | 0.20538 | 0.2143 | 27.076 | 34.082 | 43.085 | 0.21019 | 0.18893 | 0.18615 | 0.15436 | 0.15554 | 0.12805
2050 | 0.21762 | 0.20546 | 0.2143 | 27.076 | 34.085 | 43.087 | 0.21028 | 0.18901 | 0.18615 | 0.15443 | 0.15561 | 0.12805
2055 | 0.21753 | 0.20538 | 0.2143 | 27.073 | 34.079 | 43.08 | 0.21019 | 0.18893 | 0.18615 | 0.15437 | 0.15555 | 0.12806
2060 | 0.21744 | 0.20563 | 0.21421 | 27.078 | 34.084 | 43.085 | 0.2101 | 0.18918 | 0.18606 | 0.1543 | 0.15575 | 0.12798
2065 | 0.21744 | 0.20546 | 0.21421 | 27.069 | 34.074 | 43.075 | 0.21011 | 0.18902 | 0.18608 | 0.15431 | 0.15562 | 0.12799
2070 | 0.21762 | 0.20555 | 0.21421 | 27.07 | 34.075 | 43.077 | 0.21028 | 0.18911 | 0.18607 | 0.15443 | 0.15569 | 0.12799
2075 | 0.21753 | 0.20546 | 0.2143 | 27.072 | 34.076 | 43.077 | 0.2102 | 0.18902 | 0.18616 | 0.15437 | 0.15562 | 0.12806
2080 | 0.21753 | 0.20538 | 0.2143 | 27.069 | 34.073 | 43.073 | 0.2102 | 0.18894 | 0.18616 | 0.15437 | 0.15555 | 0.12807
2085 | 0.21753 | 0.20538 | 0.2143 | 27.067 | 34.071 | 43.072 | 0.2102 | 0.18894 | 0.18617 | 0.15437 | 0.15556 | 0.12807
2090 | 0.21753 | 0.20546 | 0.2143 | 27.066 | 34.07 | 43.073 | 0.2102 | 0.18903 | 0.18616 | 0.15437 | 0.15563 | 0.12807
2095 | 0.21753 | 0.20546 | 0.2143 | 27.07 | 34.074 | 43.074 | 0.2102 | 0.18902 | 0.18616 | 0.15437 | 0.15562 | 0.12806
2100 | 0.21753 | 0.20546 | 0.2143 | 27.069 | 34.072 | 43.072 | 0.2102 | 0.18903 | 0.18617 | 0.15437 | 0.15562 | 0.12807
2105 | 0.21753 | 0.20538 | 0.2143 | 27.07 | 34.075 | 43.074 | 0.2102 | 0.18894 | 0.18616 | 0.15437 | 0.15555 | 0.12806
2110 | 0.21744 | 0.20529 | 0.21421 | 27.069 | 34.073 | 43.071 | 0.21011 | 0.18885 | 0.18608 | 0.15431 | 0.15549 | 0.128
2115 | 0.21753 | 0.20546 | 0.2143 | 27.062 | 34.066 | 43.065 | 0.21021 | 0.18903 | 0.18617 | 0.15438 | 0.15563 | 0.12807
2120 | 0.21744 | 0.20546 | 0.21421 | 27.066 | 34.07 | 43.068 | 0.21012 | 0.18903 | 0.18609 | 0.15431 | 0.15563 | 0.128
2125 | 0.21753 | 0.20529 | 0.2143 | 27.07 | 34.073 | 43.071 | 0.2102 | 0.18885 | 0.18617 | 0.15437 | 0.15549 | 0.12807
2130 | 0.21744 | 0.20546 | 0.2143 | 27.072 | 34.073 | 43.072 | 0.21011 | 0.18902 | 0.18617 | 0.1543 | 0.15562 | 0.12807
2135 | 0.21744 | 0.20546 | 0.2143 | 27.073 | 34.075 | 43.073 | 0.21011 | 0.18902 | 0.18616 | 0.1543 | 0.15562 | 0.12807
2140 | 0.21736 | 0.20538 | 0.2143 | 27.075 | 34.075 | 43.073 | 0.21002 | 0.18894 | 0.18616 | 0.15424 | 0.15555 | 0.12807
2145 | 0.21744 | 0.20546 | 0.2143 | 27.074 | 34.074 | 43.073 | 0.21011 | 0.18902 | 0.18616 | 0.1543 | 0.15562 | 0.12807
2150 | 0.21753 | 0.20538 | 0.21421 | 27.072 | 34.076 | 43.074 | 0.2102 | 0.18894 | 0.18608 | 0.15437 | 0.15555 | 0.128
2155 | 0.21744 | 0.20538 | 0.21421 | 27.072 | 34.074 | 43.072 | 0.21011 | 0.18894 | 0.18608 | 0.1543 | 0.15555 | 0.128
2160 | 0.21753 | 0.20529 | 0.2143 | 27.068 | 34.068 | 43.067 | 0.2102 | 0.18886 | 0.18617 | 0.15437 | 0.15549 | 0.12807
2165 | 0.21736 | 0.20538 | 0.2143 | 27.069 | 34.072 | 43.068 | 0.21003 | 0.18894 | 0.18617 | 0.15424 | 0.15556 | 0.12807
2170 | 0.21727 | 0.20529 | 0.2143 | 27.069 | 34.069 | 43.067 | 0.20994 | 0.18886 | 0.18617 | 0.15418 | 0.15549 | 0.12807
2175 | 0.21744 | 0.20546 | 0.2143 | 27.072 | 34.074 | 43.072 | 0.21011 | 0.18902 | 0.18617 | 0.1543 | 0.15562 | 0.12807
2180 | 0.21744 | 0.20538 | 0.21421 | 27.062 | 34.062 | 43.058 | 0.21012 | 0.18895 | 0.1861 | 0.15431 | 0.15557 | 0.12801
2185 | 0.21753 | 0.20538 | 0.2143 | 27.068 | 34.066 | 43.062 | 0.2102 | 0.18895 | 0.18618 | 0.15437 | 0.15556 | 0.12808
2190 | 0.21727 | 0.2052 | 0.2143 | 27.069 | 34.065 | 43.062 | 0.20994 | 0.18878 | 0.18618 | 0.15418 | 0.15542 | 0.12808
2195 | 0.21744 | 0.20538 | 0.2143 | 27.069 | 34.065 | 43.06 | 0.21011 | 0.18895 | 0.18618 | 0.15431 | 0.15556 | 0.12808
2200 | 0.21736 | 0.20538 | 0.21421 | 27.07 | 34.069 | 43.064 | 0.21003 | 0.18894 | 0.18609 | 0.15424 | 0.15556 | 0.12801
2205 | 0.21736 | 0.20529 | 0.21421 | 27.071 | 34.069 | 43.064 | 0.21003 | 0.18886 | 0.18609 | 0.15424 | 0.15549 | 0.12801
2210 | 0.21736 | 0.20529 | 0.2143 | 27.064 | 34.063 | 43.059 | 0.21004 | 0.18887 | 0.18618 | 0.15425 | 0.1555 | 0.12808
2215 | 0.21744 | 0.2052 | 0.2143 | 27.067 | 34.066 | 43.06 | 0.21012 | 0.18878 | 0.18618 | 0.15431 | 0.15542 | 0.12808
2220 | 0.21736 | 0.20529 | 0.2143 | 27.07 | 34.068 | 43.064 | 0.21003 | 0.18886 | 0.18618 | 0.15424 | 0.15549 | 0.12808
2225 | 0.21744 | 0.20529 | 0.21421 | 27.072 | 34.071 | 43.066 | 0.21011 | 0.18886 | 0.18609 | 0.1543 | 0.15549 | 0.128
2230 | 0.21727 | 0.20529 | 0.21421 | 27.069 | 34.069 | 43.063 | 0.20994 | 0.18886 | 0.18609 | 0.15418 | 0.15549 | 0.12801
2235 | 0.21744 | 0.2052 | 0.21421 | 27.068 | 34.067 | 43.062 | 0.21012 | 0.18878 | 0.18609 | 0.15431 | 0.15542 | 0.12801
2240 | 0.21744 | 0.2052 | 0.2143 | 27.068 | 34.065 | 43.06 | 0.21012 | 0.18878 | 0.18618 | 0.15431 | 0.15542 | 0.12808
2245 | 0.21736 | 0.20529 | 0.2143 | 27.062 | 34.061 | 43.057 | 0.21004 | 0.18887 | 0.18618 | 0.15425 | 0.1555 | 0.12808
2250 | 0.21744 | 0.20529 | 0.21421 | 27.063 | 34.061 | 43.056 | 0.21012 | 0.18887 | 0.1861 | 0.15431 | 0.1555 | 0.12801
2255 | 0.21736 | 0.2052 | 0.21421 | 27.064 | 34.062 | 43.056 | 0.21004 | 0.18878 | 0.1861 | 0.15425 | 0.15543 | 0.12801
2260 | 0.21727 | 0.20529 | 0.21421 | 27.06 | 34.055 | 43.048 | 0.20996 | 0.18888 | 0.18611 | 0.15419 | 0.1555 | 0.12802
2265 | 0.21736 | 0.2052 | 0.21421 | 27.057 | 34.056 | 43.05 | 0.21004 | 0.18879 | 0.18611 | 0.15425 | 0.15543 | 0.12802
2270 | 0.21727 | 0.20529 | 0.21421 | 27.063 | 34.061 | 43.056 | 0.20995 | 0.18887 | 0.1861 | 0.15419 | 0.1555 | 0.12801
2275 | 0.21736 | 0.2052 | 0.21421 | 27.066 | 34.065 | 43.059 | 0.21003 | 0.18878 | 0.1861 | 0.15425 | 0.15542 | 0.12801
2280 | 0.21719 | 0.20529 | 0.21421 | 27.058 | 34.053 | 43.048 | 0.20987 | 0.18888 | 0.18611 | 0.15413 | 0.15551 | 0.12802
2285 | 0.21727 | 0.20538 | 0.2143 | 27.06 | 34.055 | 43.049 | 0.20996 | 0.18896 | 0.1862 | 0.15419 | 0.15557 | 0.12809
2290 | 0.21727 | 0.2052 | 0.21421 | 27.06 | 34.056 | 43.048 | 0.20996 | 0.18879 | 0.18611 | 0.15419 | 0.15543 | 0.12802
2295 | 0.21719 | 0.2052 | 0.21421 | 27.063 | 34.06 | 43.052 | 0.20987 | 0.18879 | 0.18611 | 0.15412 | 0.15543 | 0.12802
2300 | 0.21727 | 0.20529 | 0.21421 | 27.058 | 34.056 | 43.048 | 0.20996 | 0.18888 | 0.18611 | 0.15419 | 0.1555 | 0.12802
2305 | 0.21727 | 0.20529 | 0.2143 | 27.056 | 34.055 | 43.048 | 0.20996 | 0.18888 | 0.1862 | 0.15419 | 0.1555 | 0.12809
2310 | 0.21727 | 0.2052 | 0.21421 | 27.061 | 34.06 | 43.053 | 0.20995 | 0.18879 | 0.18611 | 0.15419 | 0.15543 | 0.12802
2315 | 0.21727 | 0.2052 | 0.2143 | 27.057 | 34.054 | 43.045 | 0.20996 | 0.18879 | 0.1862 | 0.15419 | 0.15544 | 0.1281
2320 | 0.21727 | 0.20512 | 0.21421 | 27.053 | 34.048 | 43.039 | 0.20997 | 0.18872 | 0.18612 | 0.15419 | 0.15537 | 0.12803
2325 | 0.21727 | 0.20529 | 0.2143 | 27.054 | 34.051 | 43.044 | 0.20996 | 0.18888 | 0.1862 | 0.15419 | 0.15551 | 0.1281
2330 | 0.21727 | 0.2052 | 0.21421 | 27.052 | 34.049 | 43.04 | 0.20997 | 0.1888 | 0.18612 | 0.1542 | 0.15544 | 0.12803
2335 | 0.21719 | 0.20529 | 0.21421 | 27.057 | 34.053 | 43.043 | 0.20987 | 0.18888 | 0.18612 | 0.15413 | 0.15551 | 0.12803
2340 | 0.21719 | 0.20529 | 0.21421 | 27.046 | 34.041 | 43.032 | 0.20989 | 0.1889 | 0.18613 | 0.15414 | 0.15552 | 0.12804
2345 | 0.21719 | 0.2052 | 0.21421 | 27.05 | 34.045 | 43.037 | 0.20988 | 0.18881 | 0.18613 | 0.15413 | 0.15545 | 0.12803
2350 | 0.21719 | 0.2052 | 0.21421 | 27.055 | 34.051 | 43.044 | 0.20988 | 0.1888 | 0.18612 | 0.15413 | 0.15544 | 0.12803
2355 | 0.2171 | 0.20529 | 0.21421 | 27.06 | 34.057 | 43.049 | 0.20979 | 0.18887 | 0.18611 | 0.15406 | 0.1555 | 0.12802
2360 | 0.21719 | 0.20512 | 0.2143 | 27.047 | 34.043 | 43.035 | 0.20989 | 0.18872 | 0.18621 | 0.15414 | 0.15538 | 0.12811
2365 | 0.21719 | 0.20529 | 0.21421 | 27.05 | 34.046 | 43.038 | 0.20988 | 0.18889 | 0.18612 | 0.15413 | 0.15551 | 0.12803
2370 | 0.21719 | 0.2052 | 0.21421 | 27.051 | 34.046 | 43.037 | 0.20988 | 0.1888 | 0.18613 | 0.15413 | 0.15544 | 0.12803
2375 | 0.21719 | 0.2052 | 0.21421 | 27.05 | 34.045 | 43.036 | 0.20988 | 0.18881 | 0.18613 | 0.15413 | 0.15545 | 0.12804
2380 | 0.21719 | 0.2052 | 0.2143 | 27.046 | 34.042 | 43.033 | 0.20989 | 0.18881 | 0.18622 | 0.15414 | 0.15545 | 0.12811
2385 | 0.2171 | 0.2052 | 0.21421 | 27.048 | 34.043 | 43.034 | 0.2098 | 0.18881 | 0.18613 | 0.15407 | 0.15545 | 0.12804
2390 | 0.21719 | 0.2052 | 0.21421 | 27.045 | 34.039 | 43.029 | 0.20989 | 0.18881 | 0.18614 | 0.15414 | 0.15545 | 0.12804
2395 | 0.21727 | 0.20512 | 0.21421 | 27.047 | 34.041 | 43.031 | 0.20997 | 0.18873 | 0.18613 | 0.1542 | 0.15538 | 0.12804
2400 | 0.2171 | 0.2052 | 0.21421 | 27.04 | 34.032 | 43.021 | 0.20981 | 0.18882 | 0.18615 | 0.15408 | 0.15546 | 0.12805
2405 | 0.2171 | 0.2052 | 0.21421 | 27.048 | 34.039 | 43.03 | 0.2098 | 0.18881 | 0.18613 | 0.15407 | 0.15545 | 0.12804
2410 | 0.2171 | 0.2052 | 0.21421 | 27.044 | 34.041 | 43.03 | 0.20981 | 0.18881 | 0.18613 | 0.15408 | 0.15545 | 0.12804
2415 | 0.21702 | 0.20512 | 0.21421 | 27.044 | 34.038 | 43.028 | 0.20972 | 0.18873 | 0.18614 | 0.15401 | 0.15538 | 0.12804
2420 | 0.21719 | 0.20512 | 0.2143 | 27.051 | 34.044 | 43.034 | 0.20988 | 0.18872 | 0.18621 | 0.15413 | 0.15538 | 0.12811
2425 | 0.21719 | 0.2052 | 0.21421 | 27.042 | 34.035 | 43.024 | 0.20989 | 0.18882 | 0.18614 | 0.15414 | 0.15546 | 0.12805
2430 | 0.2171 | 0.20512 | 0.21421 | 27.038 | 34.031 | 43.02 | 0.20981 | 0.18874 | 0.18615 | 0.15408 | 0.15539 | 0.12805
2435 | 0.21719 | 0.2052 | 0.21421 | 27.043 | 34.035 | 43.023 | 0.20989 | 0.18882 | 0.18614 | 0.15414 | 0.15546 | 0.12805
2440 | 0.2171 | 0.2052 | 0.21421 | 27.043 | 34.036 | 43.025 | 0.20981 | 0.18882 | 0.18614 | 0.15408 | 0.15546 | 0.12805
2445 | 0.2171 | 0.20512 | 0.21421 | 27.042 | 34.035 | 43.025 | 0.20981 | 0.18873 | 0.18614 | 0.15408 | 0.15539 | 0.12805
2450 | 0.21702 | 0.20512 | 0.21421 | 27.043 | 34.036 | 43.025 | 0.20972 | 0.18873 | 0.18614 | 0.15401 | 0.15539 | 0.12805
2455 | 0.2171 | 0.20512 | 0.21421 | 27.041 | 34.035 | 43.022 | 0.20981 | 0.18873 | 0.18615 | 0.15408 | 0.15539 | 0.12805
2460 | 0.2171 | 0.20512 | 0.21421 | 27.042 | 34.033 | 43.022 | 0.20981 | 0.18874 | 0.18615 | 0.15408 | 0.15539 | 0.12805
2465 | 0.2171 | 0.2052 | 0.21421 | 27.039 | 34.031 | 43.019 | 0.20981 | 0.18882 | 0.18615 | 0.15408 | 0.15546 | 0.12805
2470 | 0.2171 | 0.20512 | 0.21421 | 27.044 | 34.037 | 43.027 | 0.20981 | 0.18873 | 0.18614 | 0.15408 | 0.15539 | 0.12805
2475 | 0.21702 | 0.20512 | 0.21421 | 27.032 | 34.025 | 43.014 | 0.20974 | 0.18875 | 0.18616 | 0.15402 | 0.1554 | 0.12806
2480 | 0.2171 | 0.20512 | 0.21421 | 27.043 | 34.037 | 43.025 | 0.20981 | 0.18873 | 0.18614 | 0.15408 | 0.15539 | 0.12805
2485 | 0.21702 | 0.2052 | 0.21421 | 27.043 | 34.036 | 43.024 | 0.20972 | 0.18882 | 0.18614 | 0.15401 | 0.15546 | 0.12805
2490 | 0.2171 | 0.20512 | 0.21421 | 27.042 | 34.03 | 43.018 | 0.20981 | 0.18874 | 0.18615 | 0.15408 | 0.15539 | 0.12805
2495 | 0.21702 | 0.20503 | 0.21413 | 26.986 | 33.979 | 42.976 | 0.2098 | 0.18872 | 0.18612 | 0.15407 | 0.15538 | 0.12803
Note on A1: Pokhrel, Aashish: Time since starting the heating of the soil.
Note on B1: Pokhrel, Aashish: This is the raw EC-5 readings taken during the heating test.
Note on E1: Pokhrel, Aashish: These are the temperatures recorded by thermocouples at the same location as EC-5 sensors, which were later used for EC-5 data correction.
Note on H1: Pokhrel, Aashish: These are the EC-5 readings corrected based on Equations 4-7 mentioned in the manuscript. These corrections correlate to the errors caused due to changed electrical permittivity of the soil due to temperature change.
Note on K1: Pokhrel, Aashish: These are corrected for the varying excitation of individual sensors for the same moisture content of the soil. These are corrected using Equation 1-3 from the manuscript. These values represent the corrected VWC recorded by EC-5 sensors.
Note on B2: Pokhrel, Aashish: The position of EC-5 sensors represents their distance from the cold (Bottom) plate of the heating cell, as shown in Figure 1 of the schematics. The bottom EC-5 sensor is identified as 2.5 cm.